## sheet 1
Setpoint | t_liq_in | t_liq_out | t_air_in_pt100 | t_air_out_pt100 | t_air_fan_pt100 | flow_liq | dP_air | dp_liq | p_atm | rh_air | dP_nozzle | Setpoint uncertanty | t_liq_in uncertanty | t_liq_out uncertanty | t_air_in_pt100 uncertanty | t_air_out_pt100 uncertanty | t_air_fan_pt100 uncertanty | flow_liq uncertanty | dP_air uncertanty | dp_liq uncertanty | p_atm uncertanty | rh_air uncertanty | dP_nozzle uncertanty | Setpoint covariance | t_liq_in covariance | t_liq_out covariance | t_air_in_pt100 covariance | t_air_out_pt100 covariance | t_air_fan_pt100 covariance | flow_liq covariance | dP_air covariance | dp_liq covariance | p_atm covariance | rh_air covariance | dP_nozzle covariance | Setpoint steady state | t_liq_in steady state | t_liq_out steady state | t_air_in_pt100 steady state | t_air_out_pt100 steady state | t_air_fan_pt100 steady state | flow_liq steady state | dP_air steady state | dp_liq steady state | p_atm steady state | rh_air steady state | dP_nozzle steady state | t_air_in | t_air_out | T_5 | P_atm | P_s5 | P_s6 | dT_air | dT_liq | alpha | beta | gamma | Y_squared | Y | rho_5 | n_nozzle | C_nozzle | A_nozzle | Q | Plot number
- | C | C | C | C | C | L/min | Pa | mbar | mbar | % | Pa | - | C | C | C | C | C | L/min | Pa | mbar | mbar | % | Pa | - | C | C | C | C | C | L/min | Pa | mbar | mbar | % | Pa | - | - | - | - | - | - | - | - | - | - | - | - | C | C | K | Pa | Pa | Pa | K | K | - | - | - | - | - | kg/m3 | - | - | m2 | m3/s | -
6 | 85.4083 | 71.0843 | 19.2902 | 62.7534 | 37.8937 | 125.5929 | -2462.1453 | 48.203 | 1000.9712 | 9.4812 | 601.4197 | 0 | 0.33751 | 0.16169 | 0.020436 | 0.030245 | 0.67028 | 0.36336 | 132.8767 | 0.41674 | 0.015478 | 0.086104 | 2.5026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.85246 | 0.98361 | 0.95082 | 0.98361 | 0.72131 | 0.95082 | 0.98361 | 0.18033 | 0.93443 | 0.68852 | 0.93443 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 85.187 | 69.6671 | 20.1353 | 62.6305 | 39.2252 | 109.9984 | 144.5812 | 37.1962 | 1000.6375 | 8.3747 | 592.7027 | 0 | 0.31997 | 0.20473 | 0.030393 | 0.10868 | 0.59986 | 0.33286 | 0.80535 | 0.12094 | 0.02418 | 0.00050801 | 2.7999 | 0 | 0.11392 | 0.021519 | -0.0040693 | -0.0015095 | 0.18075 | 0.036515 | 4.9205 | 0.064823 | -0.00016506 | 0.020049 | -0.21722 | 1 | 0.85246 | 0.60656 | 0.44262 | 0.13115 | 0.29508 | 0.96721 | 0.83607 | 0.88525 | 0.93443 | 0.95082 | 0.65574 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
8 | 87.0941 | 69.9608 | 21.0164 | 63.5106 | 40.8128 | 99.7123 | 145.2721 | 31.2017 | 1000.5524 | 8.3296 | 594.8021 | 0 | 0.7354 | 0.37762 | 0.065907 | 0.080504 | 0.18933 | 0.36803 | 0.62822 | 0.1129 | 0.02889 | 0.11201 | 2.0025 | 0 | 0.021519 | 0.026145 | 0.00013417 | 0.00312 | 0.0096919 | 0.015408 | 4.6501 | -0.0026295 | 0.00080855 | 0.0012612 | -0.1999 | 1 | 0.95082 | 0.91803 | 0.2459 | 0.29508 | 0.67213 | 0.98361 | 0.93443 | 0.95082 | 0.91803 | 0.21311 | 0.95082 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
9 | 85.9665 | 67.5444 | 20.9123 | 61.8352 | 39.1795 | 89.9292 | 144.9948 | 26.0162 | 1000.4423 | 8.0508 | 594.3038 | 0 | 0.36716 | 0.15661 | 0.073219 | 0.037836 | 0.54678 | 0.32645 | 1.1139 | 0.11723 | 0.034973 | 0.042415 | 3.9074 | 0 | -0.0040693 | 0.00013417 | 0.00041765 | 0.0004394 | -0.0080255 | -0.00029056 | 0.24899 | -0.00042491 | 1.3679e-05 | -0.00045769 | 0.010941 | 1 | 0.83607 | 1 | 0.86885 | 0.57377 | 0.45902 | 0.93443 | 0.90164 | 0.95082 | 0.7541 | 0.83607 | 0.95082 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3
10 | 87.0282 | 65.6119 | 21.1602 | 61.5956 | 37.3356 | 75.685 | 144.8594 | 19.4734 | 1000.3958 | 7.9706 | 593.2599 | 0 | 0.42882 | 0.14148 | 0.096153 | 0.037595 | 1.695 | 0.3214 | 0.69802 | 0.068609 | 0.012885 | 0.064982 | 3.287 | 0 | -0.0015095 | 0.00312 | 0.0004394 | 0.00091477 | -0.0079206 | 0.001797 | 0.92282 | -0.00065533 | 6.6347e-05 | -0.00051691 | -0.0017961 | 1 | 0.90164 | 0.90164 | 0.2623 | 0.54098 | 0.27869 | 0.96721 | 0.67213 | 0.93443 | 0.96721 | 0.7541 | 0.60656 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4
11 | 86.3342 | 73.7762 | 21.6899 | 65.9569 | 39.7334 | 128.7145 | 117.5304 | 50.5796 | 1000.2844 | 6.8328 | 446.9912 | 0 | 0.61978 | 0.54735 | 0.050761 | 0.20255 | 0.22526 | 0.36223 | 0.66874 | 0.16011 | 0.027251 | 0.082956 | 2.2166 | 0 | 0.18075 | 0.0096919 | -0.0080255 | -0.0079206 | 0.44927 | 0.024216 | 6.6441 | 0.18476 | -0.0008351 | 0.046448 | -0.55442 | 1 | 0.2459 | 0.27869 | 0.31148 | 0 | 0.27869 | 0.90164 | 1 | 0.95082 | 0.88525 | 0.93443 | 0.88525 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
12 | 85.2676 | 71.3187 | 21.3501 | 65.1543 | 42.7705 | 110.1671 | 116.104 | 37.0611 | 1000.2158 | 7.3217 | 442.4189 | 0 | 0.40916 | 0.21758 | 0.10381 | 0.06823 | 0.45571 | 0.35272 | 0.47316 | 0.12022 | 0.019642 | 0.06959 | 2.1006 | 0 | 0.036515 | 0.015408 | -0.00029056 | 0.001797 | 0.024216 | 0.13203 | 0.65345 | 0.033879 | 0.00087376 | 0.0091493 | 0.022925 | 1 | 0.95082 | 0.98361 | 0.2623 | 0.081967 | 0.62295 | 0.95082 | 0.96721 | 0.95082 | 0.95082 | 0.72131 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6
13 | 86.3612 | 71.4474 | 21.4224 | 65.7956 | 41.682 | 101.2507 | 114.6018 | 31.8173 | 1000.0724 | 6.9318 | 433.562 | 0 | 0.50439 | 0.30459 | 0.072598 | 0.098355 | 0.17829 | 0.37509 | 1.6175 | 0.15692 | 0.021374 | 0.089237 | 5.8866 | 0 | 4.9205 | 4.6501 | 0.24899 | 0.92282 | 6.6441 | 0.65345 | 17656.2201 | 14.0987 | 0.14548 | 2.5738 | 75.3595 | 1 | 0.68852 | 0.88525 | 0.2459 | 0.22951 | 0.86885 | 0.96721 | 0.91803 | 0.90164 | 0.93443 | 0.45902 | 0.93443 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7
14 | 85.5581 | 68.9839 | 21.1855 | 64.0959 | 42.7504 | 90.2442 | 115.9218 | 25.8381 | 1000.0419 | 7.0179 | 442.3784 | 0 | 0.47317 | 0.23202 | 0.085237 | 0.059205 | 0.51577 | 0.37692 | 0.43916 | 0.11599 | 0.026207 | 0.014367 | 1.19 | 0 | 0.064823 | -0.0026295 | -0.00042491 | -0.00065533 | 0.18476 | 0.033879 | 14.0987 | 0.17367 | -0.00015315 | 0.030481 | 0.19989 | 1 | 0.90164 | 0.81967 | 0.78689 | 0.4918 | 0.13115 | 0.95082 | 0.93443 | 0.95082 | 0.98361 | 0.98361 | 0.93443 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8
15 | 87.4251 | 68.0191 | 20.8267 | 64.7338 | 41.5638 | 76.1824 | 114.8361 | 19.4857 | 999.8924 | 6.6212 | 436.5187 | 0 | 0.76533 | 0.2263 | 0.0507 | 0.11171 | 0.18268 | 0.37779 | 0.71543 | 0.15734 | 0.026276 | 0.065943 | 3.0438 | 0 | -0.00016506 | 0.00080855 | 1.3679e-05 | 6.6347e-05 | -0.0008351 | 0.00087376 | 0.14548 | -0.00015315 | 0.00023956 | 1.477e-05 | -0.011192 | 1 | 0.80328 | 0.96721 | 0.14754 | 0.14754 | 0.22951 | 0.83607 | 0.90164 | 0.80328 | 0.96721 | 0.63934 | 0.91803 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9
16 | 85.6205 | 73.8327 | 20.2255 | 66.4958 | 42.4386 | 128.9801 | 105.9825 | 49.5972 | 999.8969 | 6.055 | 390.4043 | 0 | 0.22831 | 0.12154 | 0.062869 | 0.08089 | 0.082665 | 0.39313 | 0.46537 | 0.17311 | 0.024721 | 0.05515 | 1.9349 | 0 | 0.020049 | 0.0012612 | -0.00045769 | -0.00051691 | 0.046448 | 0.0091493 | 2.5738 | 0.030481 | 1.477e-05 | 0.0074138 | -0.00277 | 1 | 0.95082 | 0.67213 | 0.34426 | 0.18033 | 0.72131 | 0.95082 | 0.93443 | 0.98361 | 0.98361 | 0.19672 | 0.80328 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10
17 | 85.7762 | 72.2201 | 20.6597 | 66.4944 | 41.1734 | 109.3029 | 105.9481 | 36.5501 | 999.7752 | 6.3272 | 390.3063 | 0 | 0.51295 | 0.28582 | 0.075511 | 0.093548 | 0.15522 | 0.34735 | 0.49364 | 0.11167 | 0.01789 | 0.080679 | 1.7752 | 0 | -0.21722 | -0.1999 | 0.010941 | -0.0017961 | -0.55442 | 0.022925 | 75.3595 | 0.19989 | -0.011192 | -0.00277 | 6.2628 | 1 | 0.32787 | 0.72131 | 0.2623 | 0.18033 | 0.90164 | 0.96721 | 0.86885 | 0.96721 | 0.91803 | 0.93443 | 0.91803 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11
18 | 85.7686 | 71.2051 | 20.6759 | 65.7939 | 41.934 | 99.6768 | 105.9113 | 30.7795 | 999.6902 | 6.1064 | 389.3062 | 0 | 0.45052 | 0.28065 | 0.069299 | 0.06759 | 0.29087 | 0.33889 | 0.45801 | 0.12073 | 0.030841 | 0.042073 | 1.8968 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.88525 | 0.47541 | 0.14754 | 0.45902 | 0.52459 | 0.98361 | 0.91803 | 0.96721 | 0.7377 | 0.7541 | 0.90164 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12
19 | 86.5417 | 70.5672 | 20.6119 | 66.3311 | 41.874 | 89.7626 | 105.4895 | 25.8328 | 999.5718 | 6.0979 | 385.8518 | 0 | 0.60637 | 0.25621 | 0.039183 | 0.16596 | 0.2805 | 0.32379 | 0.69736 | 0.12965 | 0.047253 | 0.087245 | 2.7579 | 0 | 0.10238 | 0.0001085 | 0.0032152 | 0.014171 | -0.068747 | 0.0093569 | 0.044386 | 0.0083339 | -6.0514e-05 | -3.3997e-05 | 0.090049 | 1 | 0.4918 | 0.83607 | 0.27869 | 0.081967 | 0.45902 | 0.95082 | 0.95082 | 0.91803 | 0.59016 | 0.2623 | 0.95082 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13
23 | 86.7424 | 67.9417 | 20.1521 | 64.9507 | 41.8148 | 74.8974 | 105.9954 | 18.9402 | 999.516 | 5.8686 | 392.7116 | 0 | 1.1174 | 0.44614 | 0.038426 | 0.12545 | 0.26776 | 0.43832 | 1.1254 | 0.13074 | 0.025942 | 0.06647 | 5.1918 | 0 | 0.0001085 | 0.041915 | 0.0048168 | 0.017325 | -0.075656 | -0.0054868 | 0.02973 | -0.0048784 | -0.00016031 | -5.5494e-06 | 0.11771 | 1 | 0.65574 | 0.88525 | 0.86885 | 0.77049 | 0.83607 | 0.90164 | 0.70492 | 0.98361 | 0.88525 | 0.80328 | 0.40984 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14
[24 empty] | 0 | 0.0032152 | 0.0048168 | 0.00092376 | 0.0030083 | -0.017149 | -0.0016511 | 0.0049143 | -0.0011565 | -7.249e-06 | -1.9728e-06 | 0.031333
[24 empty] | 0 | 0.014171 | 0.017325 | 0.0030083 | 0.011811 | -0.060414 | 0.00054147 | 0.038242 | -0.0049129 | -1.9285e-05 | -1.5327e-05 | 0.16036
[24 empty] | 0 | -0.068747 | -0.075656 | -0.017149 | -0.060414 | 0.35983 | 0.019821 | -0.18087 | 0.030936 | -0.00021131 | 6.2603e-05 | -0.96243
[24 empty] | 0 | 0.0093569 | -0.0054868 | -0.0016511 | 0.00054147 | 0.019821 | 0.11079 | 0.048911 | -0.00087381 | 0.001216 | -6.7744e-05 | 0.098413
[24 empty] | 0 | 0.044386 | 0.02973 | 0.0049143 | 0.038242 | -0.18087 | 0.048911 | 0.64858 | -0.029012 | -0.0046613 | -7.7134e-06 | 1.9671
[24 empty] | 0 | 0.0083339 | -0.0048784 | -0.0011565 | -0.0049129 | 0.030936 | -0.00087381 | -0.029012 | 0.014626 | 0.00075009 | 6.774e-06 | -0.14203
[24 empty] | 0 | -6.0514e-05 | -0.00016031 | -7.249e-06 | -1.9285e-05 | -0.00021131 | 0.001216 | -0.0046613 | 0.00075009 | 0.00058468 | -1.7014e-06 | -0.004453
[24 empty] | 0 | -3.3997e-05 | -5.5494e-06 | -1.9728e-06 | -1.5327e-05 | 6.2603e-05 | -6.7744e-05 | -7.7134e-06 | 6.774e-06 | -1.7014e-06 | 2.5807e-07 | -1.5879e-05
[24 empty] | 0 | 0.090049 | 0.11771 | 0.031333 | 0.16036 | -0.96243 | 0.098413 | 1.9671 | -0.14203 | -0.004453 | -1.5879e-05 | 7.8396
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.54082 | -0.19824 | -0.012115 | -0.027102 | -0.023112 | 0.050797 | -0.1505 | -0.030755 | 0.0010169 | -0.021237 | -0.54345
[24 empty] | 0 | -0.19824 | 0.14259 | 0.0088249 | 0.021729 | 0.0067443 | 0.022216 | 0.1304 | 0.0023954 | 0.001538 | 0.015047 | 0.3571
[24 empty] | 0 | -0.012115 | 0.0088249 | 0.0043437 | 0.0046019 | 0.0080114 | -0.0056625 | 0.016531 | -0.0022403 | 0.00014794 | 0.0059704 | 0.035018
[24 empty] | 0 | -0.027102 | 0.021729 | 0.0046019 | 0.006481 | 0.0078076 | -0.00068047 | 0.025744 | -0.0015948 | 0.00032147 | 0.0074988 | 0.057169
[24 empty] | 0 | -0.023112 | 0.0067443 | 0.0080114 | 0.0078076 | 0.035844 | -0.00097576 | -0.0020714 | -0.0034206 | -0.0023312 | 0.0075513 | 0.075328
[24 empty] | 0 | 0.050797 | 0.022216 | -0.0056625 | -0.00068047 | -0.00097576 | 0.13544 | 0.0066564 | -0.0076203 | -0.0011059 | -0.0080018 | 0.051959
[24 empty] | 0 | -0.1505 | 0.1304 | 0.016531 | 0.025744 | -0.0020714 | 0.0066564 | 0.39466 | 0.0040688 | 0.005422 | 0.027594 | 1.0175
[24 empty] | 0 | -0.030755 | 0.0023954 | -0.0022403 | -0.0015948 | -0.0034206 | -0.0076203 | 0.0040688 | 0.012746 | 0.00017575 | -0.0014731 | 0.052599
[24 empty] | 0 | 0.0010169 | 0.001538 | 0.00014794 | 0.00032147 | -0.0023312 | -0.0011059 | 0.005422 | 0.00017575 | 0.00083461 | 0.001089 | 0.0076177
[24 empty] | 0 | -0.021237 | 0.015047 | 0.0059704 | 0.0074988 | 0.0075513 | -0.0080018 | 0.027594 | -0.0014731 | 0.001089 | 0.012546 | 0.03976
[24 empty] | 0 | -0.54345 | 0.3571 | 0.035018 | 0.057169 | 0.075328 | 0.051959 | 1.0175 | 0.052599 | 0.0076177 | 0.03976 | 4.0099
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.13481 | 0.035588 | 0.02392 | 0.0029567 | -0.13976 | 0.0069671 | 0.2483 | -0.0049452 | 0.0045025 | 0.013114 | 0.77239
[24 empty] | 0 | 0.035588 | 0.024526 | 0.0098765 | 0.0045067 | -0.025111 | 0.0028218 | 0.12505 | -0.0026746 | -5.2422e-05 | 0.0031039 | 0.45416
[24 empty] | 0 | 0.02392 | 0.0098765 | 0.0053611 | 0.001217 | -0.026406 | 0.0031248 | 0.061933 | -0.0014383 | 0.00074545 | 0.0024174 | 0.19501
[24 empty] | 0 | 0.0029567 | 0.0045067 | 0.001217 | 0.0014316 | 0.0071606 | -0.0022345 | 0.015737 | -0.00029424 | -0.00053238 | 0.00017472 | 0.074316
[24 empty] | 0 | -0.13976 | -0.025111 | -0.026406 | 0.0071606 | 0.29896 | -0.069259 | -0.30633 | 0.0066523 | -0.013254 | -0.015004 | -0.72314
[24 empty] | 0 | 0.0069671 | 0.0028218 | 0.0031248 | -0.0022345 | -0.069259 | 0.10657 | 0.035545 | 0.0030347 | 0.0035951 | 0.00091893 | 0.042794
[24 empty] | 0 | 0.2483 | 0.12505 | 0.061933 | 0.015737 | -0.30633 | 0.035545 | 1.2407 | -0.060215 | 0.0031463 | 0.030749 | 4.1218
[24 empty] | 0 | -0.0049452 | -0.0026746 | -0.0014383 | -0.00029424 | 0.0066523 | 0.0030347 | -0.060215 | 0.013743 | 0.00050742 | -0.0012181 | -0.20603
[24 empty] | 0 | 0.0045025 | -5.2422e-05 | 0.00074545 | -0.00053238 | -0.013254 | 0.0035951 | 0.0031463 | 0.00050742 | 0.0012231 | 0.00033278 | -0.0071944
[24 empty] | 0 | 0.013114 | 0.0031039 | 0.0024174 | 0.00017472 | -0.015004 | 0.00091893 | 0.030749 | -0.0012181 | 0.00033278 | 0.001799 | 0.090984
[24 empty] | 0 | 0.77239 | 0.45416 | 0.19501 | 0.074316 | -0.72314 | 0.042794 | 4.1218 | -0.20603 | -0.0071944 | 0.090984 | 15.2678
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.18389 | -0.023939 | -0.0050412 | -0.0048925 | 0.2475 | -0.027559 | -0.042149 | -0.004243 | -0.00083472 | -0.0046134 | -0.28396
[24 empty] | 0 | -0.023939 | 0.020017 | -0.0043523 | 0.0041926 | 0.10763 | 0.017416 | -0.0028019 | 0.0023118 | -5.0251e-05 | -0.00072088 | -0.076907
[24 empty] | 0 | -0.0050412 | -0.0043523 | 0.0092454 | -0.0028426 | -0.1343 | 0.0042777 | 0.046644 | -0.0020046 | -0.00016767 | 0.0053525 | 0.22526
[24 empty] | 0 | -0.0048925 | 0.0041926 | -0.0028426 | 0.0014134 | 0.044213 | 0.0019153 | -0.011029 | 0.00090882 | 4.4855e-05 | -0.0014689 | -0.063907
[24 empty] | 0 | 0.2475 | 0.10763 | -0.1343 | 0.044213 | 2.8729 | -0.023508 | -0.7513 | 0.035218 | -0.0014596 | -0.074019 | -4.2161
[24 empty] | 0 | -0.027559 | 0.017416 | 0.0042777 | 0.0019153 | -0.023508 | 0.1033 | 0.051904 | -0.0023619 | 0.00061389 | 0.0037318 | 0.099763
[24 empty] | 0 | -0.042149 | -0.0028019 | 0.046644 | -0.011029 | -0.7513 | 0.051904 | 0.48723 | -0.018141 | -0.0013846 | 0.02818 | 2.1233
[24 empty] | 0 | -0.004243 | 0.0023118 | -0.0020046 | 0.00090882 | 0.035218 | -0.0023619 | -0.018141 | 0.0047072 | 0.00012143 | -0.00064511 | -0.09757
[24 empty] | 0 | -0.00083472 | -5.0251e-05 | -0.00016767 | 4.4855e-05 | -0.0014596 | 0.00061389 | -0.0013846 | 0.00012143 | 0.00016602 | -8.0889e-05 | -0.0047128
[24 empty] | 0 | -0.0046134 | -0.00072088 | 0.0053525 | -0.0014689 | -0.074019 | 0.0037318 | 0.02818 | -0.00064511 | -8.0889e-05 | 0.0042226 | 0.13644
[24 empty] | 0 | -0.28396 | -0.076907 | 0.22526 | -0.063907 | -4.2161 | 0.099763 | 2.1233 | -0.09757 | -0.0047128 | 0.13644 | 10.8046
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.38413 | 0.2883 | -0.027108 | 0.099973 | 0.10252 | 0.093379 | 0.024195 | 0.036997 | 0.0034627 | -0.016496 | -0.68319
[24 empty] | 0 | 0.2883 | 0.2996 | -0.020836 | 0.10441 | 0.11337 | 0.084459 | 0.11072 | 0.027669 | 0.0050223 | -0.0062727 | -0.195
[24 empty] | 0 | -0.027108 | -0.020836 | 0.0025767 | -0.0066834 | -0.0073429 | -0.0071715 | -0.0068449 | -0.0052916 | -0.00025656 | 0.002482 | 0.033518
[24 empty] | 0 | 0.099973 | 0.10441 | -0.0066834 | 0.041026 | 0.043146 | 0.027526 | 0.019613 | 0.0042361 | 0.0019298 | 0.00031861 | -0.081845
[24 empty] | 0 | 0.10252 | 0.11337 | -0.0073429 | 0.043146 | 0.050744 | 0.023754 | 0.041085 | 0.0062753 | 0.0021218 | 0.00021842 | -0.032052
[24 empty] | 0 | 0.093379 | 0.084459 | -0.0071715 | 0.027526 | 0.023754 | 0.13121 | 0.020862 | 0.011778 | 0.0025279 | -0.0049038 | -0.14527
[24 empty] | 0 | 0.024195 | 0.11072 | -0.0068449 | 0.019613 | 0.041085 | 0.020862 | 0.44721 | 0.021376 | 5.8774e-06 | 0.0058046 | 1.003
[24 empty] | 0 | 0.036997 | 0.027669 | -0.0052916 | 0.0042361 | 0.0062753 | 0.011778 | 0.021376 | 0.025637 | 0.00076717 | -0.0091936 | -0.05506
[24 empty] | 0 | 0.0034627 | 0.0050223 | -0.00025656 | 0.0019298 | 0.0021218 | 0.0025279 | 5.8774e-06 | 0.00076717 | 0.0007426 | 4.7967e-05 | -0.010716
[24 empty] | 0 | -0.016496 | -0.0062727 | 0.002482 | 0.00031861 | 0.00021842 | -0.0049038 | 0.0058046 | -0.0091936 | 4.7967e-05 | 0.0068817 | 0.067836
[24 empty] | 0 | -0.68319 | -0.195 | 0.033518 | -0.081845 | -0.032052 | -0.14527 | 1.003 | -0.05506 | -0.010716 | 0.067836 | 4.9134
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.16741 | -0.041451 | -0.001238 | -0.0104 | 0.03109 | 0.0089962 | 0.0078563 | -0.004741 | 0.0015113 | -0.0094693 | 0.12626
[24 empty] | 0 | -0.041451 | 0.047339 | 0.00077862 | 0.0038961 | -0.029667 | -0.0079923 | 0.018174 | -0.0031298 | -0.00097758 | 0.002709 | 0.030482
[24 empty] | 0 | -0.001238 | 0.00077862 | 0.010777 | 0.006357 | -0.03945 | -0.0092137 | 6.8758e-05 | -0.003864 | 0.00046229 | 0.0049852 | 0.016453
[24 empty] | 0 | -0.0104 | 0.0038961 | 0.006357 | 0.0046553 | -0.024856 | -0.0062797 | -0.004029 | -0.0017547 | 0.0001679 | 0.0032601 | -0.012935
[24 empty] | 0 | 0.03109 | -0.029667 | -0.03945 | -0.024856 | 0.20767 | 0.028498 | -0.073106 | 0.02775 | -8.6007e-05 | -0.012713 | -0.41347
[24 empty] | 0 | 0.0089962 | -0.0079923 | -0.0092137 | -0.0062797 | 0.028498 | 0.12441 | 0.019097 | 0.0054927 | -0.00074237 | -0.0087738 | 0.093156
[24 empty] | 0 | 0.0078563 | 0.018174 | 6.8758e-05 | -0.004029 | -0.073106 | 0.019097 | 0.22388 | -0.013939 | -0.0012819 | -0.0052293 | 0.90864
[24 empty] | 0 | -0.004741 | -0.0031298 | -0.003864 | -0.0017547 | 0.02775 | 0.0054927 | -0.013939 | 0.014453 | -0.00012367 | -0.00093624 | -0.083767
[24 empty] | 0 | 0.0015113 | -0.00097758 | 0.00046229 | 0.0001679 | -8.6007e-05 | -0.00074237 | -0.0012819 | -0.00012367 | 0.0003858 | 0.00025234 | -0.0052076
[24 empty] | 0 | -0.0094693 | 0.002709 | 0.0049852 | 0.0032601 | -0.012713 | -0.0087738 | -0.0052293 | -0.00093624 | 0.00025234 | 0.0048428 | -0.034987
[24 empty] | 0 | 0.12626 | 0.030482 | 0.016453 | -0.012935 | -0.41347 | 0.093156 | 0.90864 | -0.083767 | -0.0052076 | -0.034987 | 4.4126
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.25441 | -0.0093823 | 0.0177 | -0.024426 | 0.018643 | 0.020655 | 0.45343 | -0.021126 | -2.2463e-05 | -0.030056 | 1.6448
[24 empty] | 0 | -0.0093823 | 0.092774 | -0.016226 | 0.021847 | 0.041851 | 0.016819 | 0.11266 | -0.0051908 | 0.0019218 | 0.0075245 | 0.2172
[24 empty] | 0 | 0.0177 | -0.016226 | 0.0052705 | -0.0070964 | -0.0090023 | -0.00057149 | -0.014217 | -0.0022296 | -0.00034002 | -0.0051754 | -0.015809
[24 empty] | 0 | -0.024426 | 0.021847 | -0.0070964 | 0.0096738 | 0.011832 | 0.00031302 | 0.022328 | 0.0027378 | 0.00053258 | 0.0071631 | 0.033691
[24 empty] | 0 | 0.018643 | 0.041851 | -0.0090023 | 0.011832 | 0.031789 | 0.0047407 | 0.14334 | 0.0016993 | 0.00086305 | 0.0036899 | 0.41529
[24 empty] | 0 | 0.020655 | 0.016819 | -0.00057149 | 0.00031302 | 0.0047407 | 0.1407 | 0.1294 | 0.009646 | -0.00040882 | -0.0016962 | 0.49038
[24 empty] | 0 | 0.45343 | 0.11266 | -0.014217 | 0.022328 | 0.14334 | 0.1294 | 2.6163 | 0.055049 | 0.0038036 | 0.0043281 | 9.2815
[24 empty] | 0 | -0.021126 | -0.0051908 | -0.0022296 | 0.0027378 | 0.0016993 | 0.009646 | 0.055049 | 0.024623 | -0.00088964 | 0.0045824 | 0.21068
[24 empty] | 0 | -2.2463e-05 | 0.0019218 | -0.00034002 | 0.00053258 | 0.00086305 | -0.00040882 | 0.0038036 | -0.00088964 | 0.00045685 | 7.4266e-05 | 0.0037644
[24 empty] | 0 | -0.030056 | 0.0075245 | -0.0051754 | 0.0071631 | 0.0036899 | -0.0016962 | 0.0043281 | 0.0045824 | 7.4266e-05 | 0.0079632 | 0.012121
[24 empty] | 0 | 1.6448 | 0.2172 | -0.015809 | 0.033691 | 0.41529 | 0.49038 | 9.2815 | 0.21068 | 0.0037644 | 0.012121 | 34.6523
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.22389 | -0.04481 | -0.017532 | -0.016129 | 0.13145 | 0.026052 | 0.00034716 | -0.032762 | -0.0062935 | 0.00083915 | 0.057443
[24 empty] | 0 | -0.04481 | 0.053835 | -0.0044562 | 0.0089364 | -0.027807 | 0.010716 | 0.026746 | 0.0052682 | 0.003084 | -0.00056717 | -0.024453
[24 empty] | 0 | -0.017532 | -0.0044562 | 0.0072653 | 0.002616 | -0.03324 | -0.010508 | -0.012999 | 0.0042138 | 0.0007219 | 0.00017004 | -0.014957
[24 empty] | 0 | -0.016129 | 0.0089364 | 0.002616 | 0.0035053 | -0.026499 | -0.0038034 | -0.00069101 | 0.0025322 | 0.00095674 | -9.9914e-05 | -0.019083
[24 empty] | 0 | 0.13145 | -0.027807 | -0.03324 | -0.026499 | 0.26602 | 0.062784 | 0.01775 | -0.018021 | -0.0056787 | 0.00087876 | 0.12388
[24 empty] | 0 | 0.026052 | 0.010716 | -0.010508 | -0.0038034 | 0.062784 | 0.14207 | 0.0054877 | -0.0020594 | -0.00010656 | -0.00018709 | 0.024724
[24 empty] | 0 | 0.00034716 | 0.026746 | -0.012999 | -0.00069101 | 0.01775 | 0.0054877 | 0.19286 | -0.013399 | -0.00034283 | -0.0018453 | 0.42281
[24 empty] | 0 | -0.032762 | 0.0052682 | 0.0042138 | 0.0025322 | -0.018021 | -0.0020594 | -0.013399 | 0.013454 | 0.00089333 | -4.1494e-05 | -0.029156
[24 empty] | 0 | -0.0062935 | 0.003084 | 0.0007219 | 0.00095674 | -0.0056787 | -0.00010656 | -0.00034283 | 0.00089333 | 0.0006868 | -4.8994e-05 | -0.0028888
[24 empty] | 0 | 0.00083915 | -0.00056717 | 0.00017004 | -9.9914e-05 | 0.00087876 | -0.00018709 | -0.0018453 | -4.1494e-05 | -4.8994e-05 | 0.0002064 | -0.0039325
[24 empty] | 0 | 0.057443 | -0.024453 | -0.014957 | -0.019083 | 0.12388 | 0.024724 | 0.42281 | -0.029156 | -0.0028888 | -0.0039325 | 1.416
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.58573 | -0.1258 | -0.017805 | 0.02602 | 0.071929 | -0.031841 | 0.06221 | -0.015813 | 0.0059506 | -0.022945 | 0.41358
[24 empty] | 0 | -0.1258 | 0.05121 | 0.00045458 | 0.0013839 | -0.014549 | 0.016427 | 0.013413 | -0.00092223 | -0.0010901 | 0.0034319 | -0.052651
[24 empty] | 0 | -0.017805 | 0.00045458 | 0.0025705 | -0.0052415 | -0.0080469 | -0.0098843 | -0.015418 | -0.0033927 | 2.3867e-06 | 0.0028308 | -0.061424
[24 empty] | 0 | 0.02602 | 0.0013839 | -0.0052415 | 0.012479 | 0.018183 | 0.019684 | 0.016111 | 0.0074134 | -0.00034922 | -0.0053458 | 0.045365
[24 empty] | 0 | 0.071929 | -0.014549 | -0.0080469 | 0.018183 | 0.033373 | 0.027969 | 0.032773 | 0.013321 | -0.00014724 | -0.009356 | 0.15022
[24 empty] | 0 | -0.031841 | 0.016427 | -0.0098843 | 0.019684 | 0.027969 | 0.14273 | 0.09892 | 0.028606 | -0.0018073 | -0.010576 | 0.4032
[24 empty] | 0 | 0.06221 | 0.013413 | -0.015418 | 0.016111 | 0.032773 | 0.09892 | 0.51184 | 0.030823 | 0.0027317 | -0.022157 | 2.021
[24 empty] | 0 | -0.015813 | -0.00092223 | -0.0033927 | 0.0074134 | 0.013321 | 0.028606 | 0.030823 | 0.024756 | -0.0012935 | -0.0038522 | 0.12262
[24 empty] | 0 | 0.0059506 | -0.0010901 | 2.3867e-06 | -0.00034922 | -0.00014724 | -0.0018073 | 0.0027317 | -0.0012935 | 0.00069045 | -0.00035775 | 0.02033
[24 empty] | 0 | -0.022945 | 0.0034319 | 0.0028308 | -0.0053458 | -0.009356 | -0.010576 | -0.022157 | -0.0038522 | -0.00035775 | 0.0043485 | -0.10287
[24 empty] | 0 | 0.41358 | -0.052651 | -0.061424 | 0.045365 | 0.15022 | 0.4032 | 2.021 | 0.12262 | 0.02033 | -0.10287 | 9.2647
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.052126 | -0.0051128 | -0.0006663 | 0.0017681 | 0.0053008 | 0.00082297 | -0.0051167 | -0.0055664 | 0.0021575 | 8.1259e-05 | 0.046463
[24 empty] | 0 | -0.0051128 | 0.014771 | -0.0048503 | -0.0055697 | -0.0042681 | -0.0081865 | 0.0099844 | -0.0031223 | -0.00022053 | -0.0041039 | -0.051528
[24 empty] | 0 | -0.0006663 | -0.0048503 | 0.0039525 | 0.0046798 | 0.0042302 | -0.0016408 | 0.0042907 | -0.00075229 | -0.00033319 | 0.0029194 | 0.060073
[24 empty] | 0 | 0.0017681 | -0.0055697 | 0.0046798 | 0.0065431 | 0.005034 | -0.0028204 | 0.0052171 | -0.00052022 | -6.7665e-05 | 0.0037253 | 0.082737
[24 empty] | 0 | 0.0053008 | -0.0042681 | 0.0042302 | 0.005034 | 0.0068335 | -0.0079372 | 0.0094344 | -0.0031022 | -0.00033852 | 0.0035056 | 0.063683
[24 empty] | 0 | 0.00082297 | -0.0081865 | -0.0016408 | -0.0028204 | -0.0079372 | 0.15455 | -0.080565 | 0.0073698 | 0.00077869 | -0.0035496 | -0.20333
[24 empty] | 0 | -0.0051167 | 0.0099844 | 0.0042907 | 0.0052171 | 0.0094344 | -0.080565 | 0.21657 | -0.02411 | -0.00096583 | 3.3858e-05 | 0.6871
[24 empty] | 0 | -0.0055664 | -0.0031223 | -0.00075229 | -0.00052022 | -0.0031022 | 0.0073698 | -0.02411 | 0.029968 | 0.00064736 | 0.00055043 | -0.12493
[24 empty] | 0 | 0.0021575 | -0.00022053 | -0.00033319 | -6.7665e-05 | -0.00033852 | 0.00077869 | -0.00096583 | 0.00064736 | 0.00061113 | -0.00017481 | -0.0030603
[24 empty] | 0 | 8.1259e-05 | -0.0041039 | 0.0029194 | 0.0037253 | 0.0035056 | -0.0035496 | 3.3858e-05 | 0.00055043 | -0.00017481 | 0.0030415 | 0.030381
[24 empty] | 0 | 0.046463 | -0.051528 | 0.060073 | 0.082737 | 0.063683 | -0.20333 | 0.6871 | -0.12493 | -0.0030603 | 0.030381 | 3.7439
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.26312 | 0.043011 | 0.034421 | -0.042601 | 0.015899 | -0.016578 | 0.087454 | -0.015073 | -0.0017304 | 0.024704 | 0.1724
[24 empty] | 0 | 0.043011 | 0.081692 | 0.01106 | -0.0056003 | 0.035548 | 0.00082448 | 0.069077 | -0.00058655 | -0.0012112 | -0.0034552 | 0.25913
[24 empty] | 0 | 0.034421 | 0.01106 | 0.0057019 | -0.006598 | 0.0046037 | -0.0018235 | 0.018789 | -0.0012329 | -0.00026413 | 0.0031792 | 0.029615
[24 empty] | 0 | -0.042601 | -0.0056003 | -0.006598 | 0.0087513 | -0.003073 | 0.0024546 | -0.019132 | 0.0020099 | 0.00023636 | -0.0042402 | -0.012395
[24 empty] | 0 | 0.015899 | 0.035548 | 0.0046037 | -0.003073 | 0.024093 | -0.0011123 | 0.04434 | -0.0018529 | -0.00083572 | -0.0023769 | 0.14072
[24 empty] | 0 | -0.016578 | 0.00082448 | -0.0018235 | 0.0024546 | -0.0011123 | 0.12065 | -0.014739 | 0.0014194 | 0.00091706 | -0.0047902 | -0.069013
[24 empty] | 0 | 0.087454 | 0.069077 | 0.018789 | -0.019132 | 0.04434 | -0.014739 | 0.24368 | 0.0079478 | 0.00059558 | 0.0040016 | 0.7273
[24 empty] | 0 | -0.015073 | -0.00058655 | -0.0012329 | 0.0020099 | -0.0018529 | 0.0014194 | 0.0079478 | 0.01247 | 0.00044372 | -0.00063318 | 0.021899
[24 empty] | 0 | -0.0017304 | -0.0012112 | -0.00026413 | 0.00023636 | -0.00083572 | 0.00091706 | 0.00059558 | 0.00044372 | 0.00032005 | -0.00018024 | 0.0035809
[24 empty] | 0 | 0.024704 | -0.0034552 | 0.0031792 | -0.0042402 | -0.0023769 | -0.0047902 | 0.0040016 | -0.00063318 | -0.00018024 | 0.0065091 | -0.013518
[24 empty] | 0 | 0.1724 | 0.25913 | 0.029615 | -0.012395 | 0.14072 | -0.069013 | 0.7273 | 0.021899 | 0.0035809 | -0.013518 | 3.1514
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.20297 | 0.044877 | -0.008647 | 0.0026152 | 0.096447 | 0.065503 | 0.046479 | 0.0093153 | 0.0027327 | 0.0081036 | 0.132
[24 empty] | 0 | 0.044877 | 0.078763 | -0.017517 | 0.016522 | 0.068445 | 0.010079 | 0.046287 | -0.0063044 | 0.0052133 | -0.0018454 | 0.22424
[24 empty] | 0 | -0.008647 | -0.017517 | 0.0048024 | -0.0045301 | -0.015175 | -0.0017041 | -0.010292 | -7.2942e-05 | -0.001488 | 0.0011865 | -0.061827
[24 empty] | 0 | 0.0026152 | 0.016522 | -0.0045301 | 0.0045683 | 0.012582 | 0.00045658 | 0.0084015 | -0.0006817 | 0.0013342 | -0.0014253 | 0.055066
[24 empty] | 0 | 0.096447 | 0.068445 | -0.015175 | 0.012582 | 0.084603 | 0.02829 | 0.063844 | 0.00076278 | 0.0048542 | 0.0006821 | 0.27009
[24 empty] | 0 | 0.065503 | 0.010079 | -0.0017041 | 0.00045658 | 0.02829 | 0.11485 | 0.020576 | 0.0055487 | -0.00051448 | 0.0018164 | 0.055394
[24 empty] | 0 | 0.046479 | 0.046287 | -0.010292 | 0.0084015 | 0.063844 | 0.020576 | 0.20978 | 0.0112 | 0.0050537 | -0.0024275 | 0.79745
[24 empty] | 0 | 0.0093153 | -0.0063044 | -7.2942e-05 | -0.0006817 | 0.00076278 | 0.0055487 | 0.0112 | 0.014575 | -0.00025034 | -0.00057407 | 0.058473
[24 empty] | 0 | 0.0027327 | 0.0052133 | -0.001488 | 0.0013342 | 0.0048542 | -0.00051448 | 0.0050537 | -0.00025034 | 0.00095114 | -0.00025416 | 0.027319
[24 empty] | 0 | 0.0081036 | -0.0018454 | 0.0011865 | -0.0014253 | 0.0006821 | 0.0018164 | -0.0024275 | -0.00057407 | -0.00025416 | 0.0017702 | -0.01758
[24 empty] | 0 | 0.132 | 0.22424 | -0.061827 | 0.055066 | 0.27009 | 0.055394 | 0.79745 | 0.058473 | 0.027319 | -0.01758 | 3.5979
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.36769 | 0.10755 | -0.021734 | 0.085712 | 0.13524 | -0.050265 | 0.11825 | -0.0029162 | 0.016453 | -0.037693 | 0.072852
[24 empty] | 0 | 0.10755 | 0.065646 | -0.0079406 | 0.031004 | 0.037891 | -0.023074 | 0.028524 | -0.014083 | 0.0014239 | -0.0084237 | -0.019503
[24 empty] | 0 | -0.021734 | -0.0079406 | 0.0015353 | -0.0059634 | -0.0094658 | 0.0035812 | -0.0038129 | 0.00013399 | -0.0010218 | 0.0026938 | 0.0078342
[24 empty] | 0 | 0.085712 | 0.031004 | -0.0059634 | 0.027544 | 0.036284 | -0.012296 | 0.020706 | 0.0018245 | 0.0047954 | -0.012295 | -0.0042445
[24 empty] | 0 | 0.13524 | 0.037891 | -0.0094658 | 0.036284 | 0.07868 | -0.034065 | 0.043905 | 0.0015459 | 0.0090941 | -0.020085 | 0.079573
[24 empty] | 0 | -0.050265 | -0.023074 | 0.0035812 | -0.012296 | -0.034065 | 0.10484 | -0.015195 | 0.010782 | -0.0027321 | 0.0044556 | 0.039142
[24 empty] | 0 | 0.11825 | 0.028524 | -0.0038129 | 0.020706 | 0.043905 | -0.015195 | 0.48631 | -0.020382 | 0.012092 | -0.0032542 | 1.775
[24 empty] | 0 | -0.0029162 | -0.014083 | 0.00013399 | 0.0018245 | 0.0015459 | 0.010782 | -0.020382 | 0.016808 | 0.0015514 | -0.0041536 | -0.053533
[24 empty] | 0 | 0.016453 | 0.0014239 | -0.0010218 | 0.0047954 | 0.0090941 | -0.0027321 | 0.012092 | 0.0015514 | 0.0022328 | -0.0029443 | 0.035297
[24 empty] | 0 | -0.037693 | -0.0084237 | 0.0026938 | -0.012295 | -0.020085 | 0.0044556 | -0.0032542 | -0.0041536 | -0.0029443 | 0.0076118 | 0.0067019
[24 empty] | 0 | 0.072852 | -0.019503 | 0.0078342 | -0.0042445 | 0.079573 | 0.039142 | 1.775 | -0.053533 | 0.035297 | 0.0067019 | 7.6061
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 1.2485 | 0.23907 | 0.022625 | 0.10543 | -0.21545 | 0.17376 | -0.74928 | -0.085915 | 0.0095168 | 0.040719 | -4.5042
[24 empty] | 0 | 0.23907 | 0.19904 | 0.013313 | 0.049444 | -0.10897 | 0.13065 | 0.063131 | -0.026493 | 0.0052723 | 0.023104 | -0.14913
[24 empty] | 0 | 0.022625 | 0.013313 | 0.0014765 | 0.0042228 | -0.0084876 | 0.012571 | 0.0033997 | -0.0022034 | 0.00042682 | 0.0017887 | -0.040572
[24 empty] | 0 | 0.10543 | 0.049444 | 0.0042228 | 0.015737 | -0.030841 | 0.037958 | -0.030515 | -0.0074834 | 0.0016449 | 0.006438 | -0.29695
[24 empty] | 0 | -0.21545 | -0.10897 | -0.0084876 | -0.030841 | 0.071698 | -0.074939 | 0.0078979 | 0.023507 | -0.0037376 | -0.013644 | 0.36274
[24 empty] | 0 | 0.17376 | 0.13065 | 0.012571 | 0.037958 | -0.074939 | 0.19212 | 0.022147 | -0.018684 | 0.0032925 | 0.016564 | -0.33139
[24 empty] | 0 | -0.74928 | 0.063131 | 0.0033997 | -0.030515 | 0.0078979 | 0.022147 | 1.2665 | 0.0073338 | 4.88e-05 | -0.007747 | 5.5127
[24 empty] | 0 | -0.085915 | -0.026493 | -0.0022034 | -0.0074834 | 0.023507 | -0.018684 | 0.0073338 | 0.017094 | -0.0006425 | -0.0047421 | 0.12353
[24 empty] | 0 | 0.0095168 | 0.0052723 | 0.00042682 | 0.0016449 | -0.0037376 | 0.0032925 | 4.88e-05 | -0.0006425 | 0.00067298 | 0.00040729 | -0.020814
[24 empty] | 0 | 0.040719 | 0.023104 | 0.0017887 | 0.006438 | -0.013644 | 0.016564 | -0.007747 | -0.0047421 | 0.00040729 | 0.0044183 | -0.097123
[24 empty] | 0 | -4.5042 | -0.14913 | -0.040572 | -0.29695 | 0.36274 | -0.33139 | 5.5127 | 0.12353 | -0.020814 | -0.097123 | 26.9548