## sheet 1
Setpoint | t_liq_in | t_liq_out | t_air_in_pt100 | t_air_out_pt100 | t_air_fan_pt100 | flow_liq | dP_air | dp_liq | p_atm | rh_air | dP_nozzle | Setpoint uncertanty | t_liq_in uncertanty | t_liq_out uncertanty | t_air_in_pt100 uncertanty | t_air_out_pt100 uncertanty | t_air_fan_pt100 uncertanty | flow_liq uncertanty | dP_air uncertanty | dp_liq uncertanty | p_atm uncertanty | rh_air uncertanty | dP_nozzle uncertanty | Setpoint covariance | t_liq_in covariance | t_liq_out covariance | t_air_in_pt100 covariance | t_air_out_pt100 covariance | t_air_fan_pt100 covariance | flow_liq covariance | dP_air covariance | dp_liq covariance | p_atm covariance | rh_air covariance | dP_nozzle covariance | Setpoint steady state | t_liq_in steady state | t_liq_out steady state | t_air_in_pt100 steady state | t_air_out_pt100 steady state | t_air_fan_pt100 steady state | flow_liq steady state | dP_air steady state | dp_liq steady state | p_atm steady state | rh_air steady state | dP_nozzle steady state | t_air_in | t_air_out | T_5 | P_atm | P_s5 | P_s6 | dT_air | dT_liq | alpha | beta | gamma | Y_squared | Y | rho_5 | n_nozzle | C_nozzle | A_nozzle | Q | Plot number
- | C | C | C | C | C | L/min | Pa | mbar | mbar | % | Pa | - | C | C | C | C | C | L/min | Pa | mbar | mbar | % | Pa | - | C | C | C | C | C | L/min | Pa | mbar | mbar | % | Pa | - | - | - | - | - | - | - | - | - | - | - | - | C | C | K | Pa | Pa | Pa | K | K | - | - | - | - | - | kg/m3 | - | - | m2 | m3/s | -
1 | 85.1353 | 62.9002 | 7.0267 | 51.0118 | 24.9601 | 127.6565 | 306.2395 | 47.0823 | 987.8399 | 7.8477 | 405.2056 | 0 | 0.539 | 0.24607 | 0.018768 | 0.030554 | 0.38799 | 0.41903 | 2.8151 | 0.17655 | 0.04576 | 0.024416 | 4.0209 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.39344 | 0.68852 | 0.83607 | 0.57377 | 0.29508 | 0.93443 | 0.86885 | 0.95082 | 0.59016 | 0.93443 | 0.78689 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 88.7451 | 62.9241 | 7.1626 | 52.2212 | 25.5637 | 110.7327 | 307.8126 | 39.4236 | 988.1803 | 8.1304 | 405.5852 | 0 | 0.8461 | 0.59218 | 0.022574 | 0.18901 | 0.41431 | 0.43679 | 3.119 | 0.22826 | 0.062409 | 0.036058 | 4.3946 | 0 | 0.29052 | 0.064333 | -0.0046961 | 0.007341 | 0.17133 | 0.0088285 | 0.78757 | -0.020758 | -0.016798 | -0.0027848 | 1.4597 | 1 | 0.77049 | 0.54098 | 0.2459 | 0.5082 | 0.44262 | 0.93443 | 0.32787 | 0.57377 | 0.63934 | 0.83607 | 0.36066 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
3 | 88.082 | 60.569 | 8.1989 | 50.9017 | 24.9159 | 99.9281 | 308.5081 | 31.6671 | 988.6799 | 8.6642 | 407.1978 | 0 | 0.71627 | 0.37416 | 0.046325 | 0.076582 | 0.42961 | 0.34416 | 2.2407 | 0.23686 | 0.051096 | 0.00038575 | 3.2414 | 0 | 0.064333 | 0.06055 | -0.0038809 | 0.0065736 | 0.020834 | 0.027213 | 0.10052 | 0.0046806 | -0.0062005 | -0.00096201 | 0.2711 | 1 | 0.88525 | 1 | 0.2623 | 0.44262 | 0.83607 | 0.98361 | 0.88525 | 0.55738 | 0.44262 | 0.95082 | 0.83607 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
4 | 86.8969 | 57.692 | 8.4418 | 49.512 | 29.4741 | 90.4368 | 306.9918 | 24.4796 | 989.2292 | 8.5704 | 405.3788 | 0 | 0.2754 | 0.12256 | 0.023157 | 0.022547 | 0.36949 | 0.31563 | 1.8429 | 0.22703 | 0.050544 | 0.017345 | 2.0041 | 0 | -0.0046961 | -0.0038809 | 0.00035224 | -0.00035415 | -0.00082237 | -0.0022614 | 0.0099405 | 7.3121e-05 | 0.00030649 | 2.4498e-05 | -0.002383 | 1 | 0.98361 | 1 | 0.63934 | 1 | 0.70492 | 0.88525 | 0.95082 | 0.29508 | 0.47541 | 0.96721 | 0.95082 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3
5 | 88.2616 | 54.6638 | 9.8173 | 49.1517 | 25.9452 | 74.6666 | 309.439 | 20.2804 | 989.8112 | 8.8982 | 409.2112 | 0 | 0.598 | 0.27233 | 0.060213 | 0.1163 | 0.30017 | 0.38786 | 0.92719 | 0.13528 | 0.045113 | 0.057497 | 1.5236 | 0 | 0.007341 | 0.0065736 | -0.00035415 | 0.00093352 | 0.0040376 | 0.0029951 | 0.026837 | 0.0008554 | -0.00066287 | -0.00031825 | 0.041888 | 1 | 0.95082 | 0.59016 | 0.45902 | 0.36066 | 0.65574 | 0.95082 | 0.91803 | 0.85246 | 0.96721 | 0.7541 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4
6 | 87.0765 | 68.588 | 11.0014 | 57.301 | 31.7845 | 129.0537 | 212.1992 | 49.4726 | 990.1642 | 6.1717 | 258.4172 | 0 | 1.0544 | 0.56222 | 0.02974 | 0.071037 | 0.39687 | 0.37948 | 1.3245 | 0.24184 | 0.057096 | 0.012374 | 1.7045 | 0 | 0.17133 | 0.020834 | -0.00082237 | 0.0040376 | 0.15053 | 0.015641 | 0.66593 | -0.006776 | -0.012346 | -0.0024791 | 1.1004 | 1 | 0.90164 | 0.83607 | 0.39344 | 0.85246 | 0.14754 | 0.95082 | 0.91803 | 0.96721 | 0.65574 | 0.98361 | 0.93443 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
7 | 87.1441 | 66.1802 | 12.7534 | 56.7639 | 30.5559 | 109.9806 | 213.803 | 35.2699 | 990.6295 | 6.6169 | 259.4727 | 0 | 0.52614 | 0.33173 | 0.063221 | 0.08173 | 0.40878 | 0.31522 | 1.0634 | 0.16929 | 0.025031 | 0.042909 | 0.97004 | 0 | 0.0088285 | 0.027213 | -0.0022614 | 0.0029951 | 0.015641 | 0.17559 | -0.12179 | 0.014 | -0.0017623 | 0.0010417 | -0.046095 | 1 | 0.83607 | 0.70492 | 0.52459 | 0.44262 | 0.57377 | 0.93443 | 0.81967 | 0.72131 | 0.95082 | 0.7377 | 0.91803 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6
8 | 88.9209 | 65.3722 | 11.017 | 56.6448 | 29.9668 | 100.7367 | 213.7025 | 33.5294 | 990.9422 | 6.8454 | 260.6761 | 0 | 1.0412 | 0.38919 | 0.1088 | 0.068627 | 0.43966 | 0.37545 | 1.0325 | 0.21989 | 0.049988 | 0.04854 | 1.0677 | 0 | 0.78757 | 0.10052 | 0.0099405 | 0.026837 | 0.66593 | -0.12179 | 7.9247 | 0.03988 | -0.06151 | -0.018811 | 10.215 | 1 | 0.88525 | 1 | 0 | 1 | 0.77049 | 0.96721 | 0.5082 | 0.70492 | 0.29508 | 1 | 0.44262 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7
9 | 86.0051 | 60.9575 | 11.3248 | 53.6687 | 30.3504 | 87.9731 | 211.5144 | 24.3449 | 991.1426 | 6.7172 | 258.8826 | 0 | 0.46349 | 0.19371 | 0.13611 | 0.0709 | 0.24957 | 0.32815 | 2.4332 | 0.9853 | 0.029227 | 0.075259 | 3.0779 | 0 | -0.020758 | 0.0046806 | 7.3121e-05 | 0.0008554 | -0.006776 | 0.014 | 0.03988 | 0.031168 | 5.8778e-05 | 0.0013732 | 0.066654 | 1 | 0.29508 | 0.37705 | 0 | 0.2459 | 0.65574 | 0.96721 | 0.55738 | 0.065574 | 0.91803 | 0.59016 | 0.57377 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8
10 | 87.2992 | 59.0491 | 12.1083 | 53.8476 | 30.2579 | 75.2986 | 212.636 | 17.3839 | 991.4006 | 6.5909 | 259.2443 | 0 | 0.36628 | 0.16017 | 0.10219 | 0.087731 | 0.088084 | 0.25654 | 2.1322 | 0.24141 | 0.071954 | 0.00034513 | 3.1044 | 0 | -0.016798 | -0.0062005 | 0.00030649 | -0.00066287 | -0.012346 | -0.0017623 | -0.06151 | 5.8778e-05 | 0.002094 | 0.00017068 | -0.11023 | 1 | 0.91803 | 0.5082 | 0.52459 | 0.16393 | 0.93443 | 0.96721 | 0.93443 | 0.34426 | 0.85246 | 0.96721 | 0.93443 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9
11 | 84.6321 | 71.1161 | 12.6131 | 62.5461 | 32.3374 | 129.4914 | 115.7243 | 48.3996 | 991.7092 | 4.9148 | 120.4745 | 0 | 0.47542 | 0.33413 | 0.017421 | 0.077012 | 0.20597 | 0.39673 | 0.63226 | 0.19706 | 0.028938 | 0.076093 | 0.72699 | 0 | -0.0027848 | -0.00096201 | 2.4498e-05 | -0.00031825 | -0.0024791 | 0.0010417 | -0.018811 | 0.0013732 | 0.00017068 | 0.00059614 | -0.0088084 | 1 | 0.88525 | 0.4918 | 0.93443 | 0.44262 | 0.4918 | 0.96721 | 0.91803 | 0.91803 | 0.81967 | 0.31148 | 0.7377 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10
12 | 85.8479 | 70.5352 | 14.5509 | 63.5232 | 32.3867 | 110.8227 | 115.7181 | 34.0268 | 991.8666 | 4.7192 | 120.7327 | 0 | 0.56458 | 0.39887 | 0.039233 | 0.13952 | 0.19656 | 0.40461 | 1.2855 | 0.14317 | 0.036224 | 0.0014063 | 1.5042 | 0 | 1.4597 | 0.2711 | -0.002383 | 0.041888 | 1.1004 | -0.046095 | 10.215 | 0.066654 | -0.11023 | -0.0088084 | 16.1678 | 1 | 0.36066 | 0.21311 | 0.52459 | 0.21311 | 0.81967 | 0.91803 | 0.96721 | 0.85246 | 0.77049 | 0.93443 | 0.95082 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11
13 | 86.2868 | 69.0859 | 12.4256 | 62.5216 | 31.3339 | 101.0778 | 114.858 | 28.5761 | 991.8497 | 5.4252 | 120.0733 | 0 | 0.31192 | 0.18247 | 0.062298 | 0.07943 | 0.31431 | 0.38628 | 1.4827 | 0.15522 | 0.02616 | 0.085356 | 1.8184 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.88525 | 0.77049 | 0.22951 | 0.11475 | 0.63934 | 0.98361 | 0.95082 | 0.67213 | 0.70492 | 0.7377 | 0.93443 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12
14 | 87.5787 | 68.2583 | 12.0928 | 62.7858 | 30.6544 | 89.2801 | 115.4276 | 25.9366 | 992.0953 | 5.2989 | 120.8642 | 0 | 0.92991 | 0.5659 | 0.219 | 0.22995 | 0.27971 | 0.40357 | 1.8773 | 0.18344 | 0.039491 | 0.072355 | 2.0231 | 0 | 0.71589 | 0.20296 | -0.0084301 | 0.08115 | 0.2014 | 0.16547 | -0.97886 | 0.11143 | -0.026227 | -0.0022511 | -1.6753 | 1 | 0.90164 | 0.78689 | 0.2459 | 0.21311 | 0.16393 | 0.93443 | 0.60656 | 0.81967 | 0.77049 | 1 | 0.7541 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13
15 | 87.2771 | 65.617 | 12.7623 | 61.1643 | 31.2233 | 74.8022 | 111.2547 | 22.2153 | 992.212 | 4.3003 | 116.0559 | 0 | 1.0694 | 0.2735 | 0.13281 | 0.16207 | 0.19843 | 0.35894 | 1.799 | 0.22848 | 0.044558 | 0.11217 | 2.2704 | 0 | 0.20296 | 0.35067 | -0.0095759 | 0.10503 | 0.18779 | 0.04577 | -1.0061 | 0.050126 | -0.027186 | -0.0012924 | -1.4214 | 1 | 0.86885 | 0.86885 | 0.21311 | 0.29508 | 0.21311 | 0.83607 | 0.93443 | 0.37705 | 0.91803 | 0.098361 | 0.96721 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14
[24 empty] | 0 | -0.0084301 | -0.0095759 | 0.00050958 | -0.0028933 | -0.00602 | -0.0013516 | 0.060565 | -0.0038914 | 0.00072193 | -0.00028024 | 0.088487
[24 empty] | 0 | 0.08115 | 0.10503 | -0.0028933 | 0.035725 | 0.067766 | 0.014528 | -0.3184 | 0.016086 | -0.0099486 | 4.473e-05 | -0.46194
[24 empty] | 0 | 0.2014 | 0.18779 | -0.00602 | 0.067766 | 0.17166 | 0.044989 | -0.90625 | 0.052708 | -0.022861 | 0.00031853 | -1.2729
[24 empty] | 0 | 0.16547 | 0.04577 | -0.0013516 | 0.014528 | 0.044989 | 0.19079 | -0.14125 | 0.041012 | -0.0067096 | -0.0011581 | -0.2189
[24 empty] | 0 | -0.97886 | -1.0061 | 0.060565 | -0.3184 | -0.90625 | -0.14125 | 9.7284 | -0.56634 | 0.10274 | -0.039483 | 13.3858
[24 empty] | 0 | 0.11143 | 0.050126 | -0.0038914 | 0.016086 | 0.052708 | 0.041012 | -0.56634 | 0.052104 | -0.0052664 | 0.0019014 | -0.82218
[24 empty] | 0 | -0.026227 | -0.027186 | 0.00072193 | -0.0099486 | -0.022861 | -0.0067096 | 0.10274 | -0.0052664 | 0.0038948 | -7.8783e-05 | 0.14177
[24 empty] | 0 | -0.0022511 | -0.0012924 | -0.00028024 | 4.473e-05 | 0.00031853 | -0.0011581 | -0.039483 | 0.0019014 | -7.8783e-05 | 0.0013002 | -0.060571
[24 empty] | 0 | -1.6753 | -1.4214 | 0.088487 | -0.46194 | -1.2729 | -0.2189 | 13.3858 | -0.82218 | 0.14177 | -0.060571 | 19.3127
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.51304 | -0.099218 | 0.023406 | -0.0042697 | -0.13911 | 0.053492 | -0.030683 | -0.055462 | 0.01169 | -8.1669e-06 | -0.18675
[24 empty] | 0 | -0.099218 | 0.13999 | -0.0038159 | 0.018213 | 0.01251 | -0.012375 | -0.32346 | -0.049212 | 0.0049022 | 1.8734e-05 | -0.57275
[24 empty] | 0 | 0.023406 | -0.0038159 | 0.002146 | 0.0012737 | 0.00041836 | 0.00021872 | 0.0036805 | -0.0055295 | 0.0014888 | -5.4365e-06 | -0.010479
[24 empty] | 0 | -0.0042697 | 0.018213 | 0.0012737 | 0.0058647 | 0.017572 | -0.0013072 | -0.079291 | -0.012998 | 0.0028355 | -4.6237e-07 | -0.13028
[24 empty] | 0 | -0.13911 | 0.01251 | 0.00041836 | 0.017572 | 0.18456 | -0.03666 | 0.067105 | 0.004167 | 0.0026628 | -2.9579e-05 | 0.19421
[24 empty] | 0 | 0.053492 | -0.012375 | 0.00021872 | -0.0013072 | -0.03666 | 0.11845 | -0.12676 | -0.0024484 | 0.0018293 | 4.1324e-05 | -0.16369
[24 empty] | 0 | -0.030683 | -0.32346 | 0.0036805 | -0.079291 | 0.067105 | -0.12676 | 5.0209 | 0.29009 | -0.057652 | -0.00016115 | 6.9885
[24 empty] | 0 | -0.055462 | -0.049212 | -0.0055295 | -0.012998 | 0.004167 | -0.0024484 | 0.29009 | 0.056103 | -0.007916 | 2.4886e-06 | 0.51854
[24 empty] | 0 | 0.01169 | 0.0049022 | 0.0014888 | 0.0028355 | 0.0026628 | 0.0018293 | -0.057652 | -0.007916 | 0.0026108 | -1.6971e-06 | -0.091731
[24 empty] | 0 | -8.1669e-06 | 1.8734e-05 | -5.4365e-06 | -4.6237e-07 | -2.9579e-05 | 4.1324e-05 | -0.00016115 | 2.4886e-06 | -1.6971e-06 | 1.488e-07 | -0.00012604
[24 empty] | 0 | -0.18675 | -0.57275 | -0.010479 | -0.13028 | 0.19421 | -0.16369 | 6.9885 | 0.51854 | -0.091731 | -0.00012604 | 10.5064
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.075844 | -0.024599 | -0.0040459 | -0.00423 | -0.01149 | -0.0023693 | -0.14383 | -0.015069 | -0.0027935 | -0.0019592 | -0.096129
[24 empty] | 0 | -0.024599 | 0.01502 | 0.001641 | 0.0025097 | 0.016541 | -0.0013277 | -0.0096522 | -0.0027401 | 0.0014423 | 0.0002603 | -0.021218
[24 empty] | 0 | -0.0040459 | 0.001641 | 0.00053626 | 0.00041216 | -0.0016229 | -0.0013808 | 0.0076545 | 0.0034688 | -0.00037174 | 2.7951e-05 | -0.0020465
[24 empty] | 0 | -0.00423 | 0.0025097 | 0.00041216 | 0.00050835 | 0.0021252 | -0.00036594 | 0.0009752 | 0.00071292 | 6.8462e-05 | 2.9508e-05 | -0.0053235
[24 empty] | 0 | -0.01149 | 0.016541 | -0.0016229 | 0.0021252 | 0.13652 | 0.014567 | 0.081996 | -0.056174 | 0.014307 | 0.0028576 | 0.1919
[24 empty] | 0 | -0.0023693 | -0.0013277 | -0.0013808 | -0.00036594 | 0.014567 | 0.099623 | 0.05551 | -0.0091892 | 0.0041266 | 0.00091417 | 0.056291
[24 empty] | 0 | -0.14383 | -0.0096522 | 0.0076545 | 0.0009752 | 0.081996 | 0.05551 | 3.3962 | 0.063051 | 0.012435 | 0.015579 | 3.2991
[24 empty] | 0 | -0.015069 | -0.0027401 | 0.0034688 | 0.00071292 | -0.056174 | -0.0091892 | 0.063051 | 0.051543 | -0.006773 | -0.0001665 | -0.039139
[24 empty] | 0 | -0.0027935 | 0.0014423 | -0.00037174 | 6.8462e-05 | 0.014307 | 0.0041266 | 0.012435 | -0.006773 | 0.0025547 | 0.00036585 | 0.027173
[24 empty] | 0 | -0.0019592 | 0.0002603 | 2.7951e-05 | 2.9508e-05 | 0.0028576 | 0.00091417 | 0.015579 | -0.0001665 | 0.00036585 | 0.00030085 | 0.019117
[24 empty] | 0 | -0.096129 | -0.021218 | -0.0020465 | -0.0053235 | 0.1919 | 0.056291 | 3.2991 | -0.039139 | 0.027173 | 0.019117 | 4.0163
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.35761 | 0.019479 | 0.016925 | 0.011091 | 0.079709 | 0.017003 | 0.15305 | -0.0094278 | 0.010578 | 0.0021286 | 0.33836
[24 empty] | 0 | 0.019479 | 0.074164 | 0.014458 | 0.028253 | 0.067342 | -0.0026948 | 0.021883 | 0.0017836 | 0.00038237 | -0.0043157 | 0.047167
[24 empty] | 0 | 0.016925 | 0.014458 | 0.0036256 | 0.0063636 | 0.017081 | -0.0027186 | 0.0041417 | 0.00027782 | 0.00084027 | -0.00089246 | 0.010347
[24 empty] | 0 | 0.011091 | 0.028253 | 0.0063636 | 0.013525 | 0.028597 | -0.011486 | -0.0098282 | 0.0017284 | 0.0009637 | -0.0035029 | 0.0049187
[24 empty] | 0 | 0.079709 | 0.067342 | 0.017081 | 0.028597 | 0.090101 | -0.013671 | 0.053111 | -0.0045378 | 0.0058195 | -0.001522 | 0.067634
[24 empty] | 0 | 0.017003 | -0.0026948 | -0.0027186 | -0.011486 | -0.013671 | 0.15043 | 0.042351 | 0.016588 | -0.0071597 | 0.0058372 | 0.097006
[24 empty] | 0 | 0.15305 | 0.021883 | 0.0041417 | -0.0098282 | 0.053111 | 0.042351 | 0.85968 | -0.019046 | -0.0011369 | 0.017588 | 1.0234
[24 empty] | 0 | -0.0094278 | 0.0017836 | 0.00027782 | 0.0017284 | -0.0045378 | 0.016588 | -0.019046 | 0.018301 | -0.0030452 | -0.0023598 | 0.026178
[24 empty] | 0 | 0.010578 | 0.00038237 | 0.00084027 | 0.0009637 | 0.0058195 | -0.0071597 | -0.0011369 | -0.0030452 | 0.0020352 | 0.00040983 | -0.0081881
[24 empty] | 0 | 0.0021286 | -0.0043157 | -0.00089246 | -0.0035029 | -0.001522 | 0.0058372 | 0.017588 | -0.0023598 | 0.00040983 | 0.0033059 | -0.010367
[24 empty] | 0 | 0.33836 | 0.047167 | 0.010347 | 0.0049187 | 0.067634 | 0.097006 | 1.0234 | 0.026178 | -0.0081881 | -0.010367 | 2.3213
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 1.1117 | -0.055666 | 0.013251 | -0.039409 | -0.13021 | -0.037202 | -0.30196 | -0.12084 | 0.027191 | -0.0039626 | -0.012342
[24 empty] | 0 | -0.055666 | 0.31609 | 0.0074564 | 0.0029783 | -0.10132 | 0.026014 | 0.23975 | -0.04084 | 0.01197 | -1.0079e-05 | 0.37337
[24 empty] | 0 | 0.013251 | 0.0074564 | 0.00088448 | -0.00044554 | -0.0096043 | -0.00056525 | -0.010702 | -0.0018487 | 0.0013228 | -5.976e-05 | -0.00626
[24 empty] | 0 | -0.039409 | 0.0029783 | -0.00044554 | 0.0050463 | 0.0080063 | 0.0014276 | 0.026919 | -0.0013822 | -0.00081325 | 0.00037578 | 0.012305
[24 empty] | 0 | -0.13021 | -0.10132 | -0.0096043 | 0.0080063 | 0.15751 | -0.028556 | 0.18209 | -0.00016946 | -0.012221 | 0.0014769 | 0.18377
[24 empty] | 0 | -0.037202 | 0.026014 | -0.00056525 | 0.0014276 | -0.028556 | 0.144 | -0.007126 | 0.019943 | -0.0014277 | 0.00066057 | -0.050744
[24 empty] | 0 | -0.30196 | 0.23975 | -0.010702 | 0.026919 | 0.18209 | -0.007126 | 1.7542 | -0.094211 | -0.0082335 | 0.0029129 | 2.1267
[24 empty] | 0 | -0.12084 | -0.04084 | -0.0018487 | -0.0013822 | -0.00016946 | 0.019943 | -0.094211 | 0.058486 | -0.0046295 | 0.00039364 | -0.17956
[24 empty] | 0 | 0.027191 | 0.01197 | 0.0013228 | -0.00081325 | -0.012221 | -0.0014277 | -0.0082335 | -0.0046295 | 0.00326 | -8.7189e-05 | 0.003022
[24 empty] | 0 | -0.0039626 | -1.0079e-05 | -5.976e-05 | 0.00037578 | 0.0014769 | 0.00066057 | 0.0029129 | 0.00039364 | -8.7189e-05 | 0.00015312 | 0.0023776
[24 empty] | 0 | -0.012342 | 0.37337 | -0.00626 | 0.012305 | 0.18377 | -0.050744 | 2.1267 | -0.17956 | 0.003022 | 0.0023776 | 2.9055
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.27682 | 0.0047953 | 0.0066018 | 0.0076598 | 0.018812 | 0.046703 | -0.12787 | -0.0069917 | 0.00080321 | 0.0030153 | -0.2352
[24 empty] | 0 | 0.0047953 | 0.11005 | 0.017166 | 0.021069 | 0.054416 | 0.00094649 | 0.035638 | -0.034572 | -0.00036706 | 0.010512 | 0.066549
[24 empty] | 0 | 0.0066018 | 0.017166 | 0.0039969 | 0.0048541 | 0.016652 | 0.0037623 | 0.029208 | -0.0063152 | -0.000278 | 0.0019556 | 0.022647
[24 empty] | 0 | 0.0076598 | 0.021069 | 0.0048541 | 0.0066797 | 0.026877 | 0.0042814 | 0.03936 | -0.0086244 | -0.00062021 | 0.0023077 | 0.035798
[24 empty] | 0 | 0.018812 | 0.054416 | 0.016652 | 0.026877 | 0.1671 | 0.011564 | 0.16134 | -0.02781 | -0.006597 | 0.0078404 | 0.18944
[24 empty] | 0 | 0.046703 | 0.00094649 | 0.0037623 | 0.0042814 | 0.011564 | 0.099365 | 0.043221 | -0.00057423 | -0.00024891 | 0.0020584 | 0.010685
[24 empty] | 0 | -0.12787 | 0.035638 | 0.029208 | 0.03936 | 0.16134 | 0.043221 | 1.1308 | -0.057625 | -0.00071738 | -0.0019701 | 0.8073
[24 empty] | 0 | -0.0069917 | -0.034572 | -0.0063152 | -0.0086244 | -0.02781 | -0.00057423 | -0.057625 | 0.02866 | 5.4518e-05 | -0.0021799 | -0.037797
[24 empty] | 0 | 0.00080321 | -0.00036706 | -0.000278 | -0.00062021 | -0.006597 | -0.00024891 | -0.00071738 | 5.4518e-05 | 0.00062657 | -0.00018075 | -0.0057883
[24 empty] | 0 | 0.0030153 | 0.010512 | 0.0019556 | 0.0023077 | 0.0078404 | 0.0020584 | -0.0019701 | -0.0021799 | -0.00018075 | 0.0018412 | 0.0094597
[24 empty] | 0 | -0.2352 | 0.066549 | 0.022647 | 0.035798 | 0.18944 | 0.010685 | 0.8073 | -0.037797 | -0.0057883 | 0.0094597 | 0.94097
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 1.0842 | -0.11975 | 0.037468 | -0.038148 | -0.11156 | 0.10356 | -0.11056 | -0.10076 | 0.016424 | 0.0070857 | -0.069424
[24 empty] | 0 | -0.11975 | 0.15147 | 0.0013179 | 0.020623 | -0.031179 | -0.035832 | 0.20536 | -0.043205 | -0.0010724 | 0.003983 | 0.15076
[24 empty] | 0 | 0.037468 | 0.0013179 | 0.011838 | -0.0026124 | -0.036009 | 0.0042987 | 0.076524 | -0.013063 | 0.004753 | 0.0021901 | 0.086961
[24 empty] | 0 | -0.038148 | 0.020623 | -0.0026124 | 0.0047097 | 0.0068689 | -0.010977 | 0.016316 | -0.0033936 | -0.00099716 | -0.0011887 | 0.0042761
[24 empty] | 0 | -0.11156 | -0.031179 | -0.036009 | 0.0068689 | 0.1933 | 0.0090074 | -0.21655 | 0.044153 | -0.011148 | -0.013621 | -0.199
[24 empty] | 0 | 0.10356 | -0.035832 | 0.0042987 | -0.010977 | 0.0090074 | 0.14096 | -0.033411 | 0.008792 | 0.0019131 | 0.0031167 | -0.0016628
[24 empty] | 0 | -0.11056 | 0.20536 | 0.076524 | 0.016316 | -0.21655 | -0.033411 | 1.066 | -0.12799 | 0.029502 | 0.012547 | 1.0198
[24 empty] | 0 | -0.10076 | -0.043205 | -0.013063 | -0.0033936 | 0.044153 | 0.008792 | -0.12799 | 0.048352 | -0.0049003 | -0.0012923 | -0.10879
[24 empty] | 0 | 0.016424 | -0.0010724 | 0.004753 | -0.00099716 | -0.011148 | 0.0019131 | 0.029502 | -0.0049003 | 0.0024988 | 0.000532 | 0.035575
[24 empty] | 0 | 0.0070857 | 0.003983 | 0.0021901 | -0.0011887 | -0.013621 | 0.0031167 | 0.012547 | -0.0012923 | 0.000532 | 0.0023561 | 0.015621
[24 empty] | 0 | -0.069424 | 0.15076 | 0.086961 | 0.0042761 | -0.199 | -0.0016628 | 1.0198 | -0.10879 | 0.035575 | 0.015621 | 1.14
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.21482 | 0.065449 | 0.057926 | 0.028391 | -0.074527 | 0.036926 | 0.73343 | 0.40942 | 0.0044583 | 0.032675 | 0.87132
[24 empty] | 0 | 0.065449 | 0.037525 | 0.022159 | 0.013288 | -0.023312 | 0.011931 | 0.23952 | 0.16648 | 0.0011305 | 0.0086004 | 0.27806
[24 empty] | 0 | 0.057926 | 0.022159 | 0.018526 | 0.0089039 | -0.022151 | 0.0078237 | 0.24985 | 0.13286 | 0.0014771 | 0.0089667 | 0.30095
[24 empty] | 0 | 0.028391 | 0.013288 | 0.0089039 | 0.0050269 | -0.0093751 | 0.0047741 | 0.097945 | 0.065829 | 0.00059798 | 0.0039915 | 0.11419
[24 empty] | 0 | -0.074527 | -0.023312 | -0.022151 | -0.0093751 | 0.062287 | -0.018692 | -0.43065 | -0.14274 | -0.0008021 | -0.013492 | -0.53726
[24 empty] | 0 | 0.036926 | 0.011931 | 0.0078237 | 0.0047741 | -0.018692 | 0.10768 | 0.15699 | 0.053614 | -0.0010942 | 0.0048595 | 0.17555
[24 empty] | 0 | 0.73343 | 0.23952 | 0.24985 | 0.097945 | -0.43065 | 0.15699 | 5.9207 | 1.6989 | 0.018183 | 0.12291 | 7.3615
[24 empty] | 0 | 0.40942 | 0.16648 | 0.13286 | 0.065829 | -0.14274 | 0.053614 | 1.6989 | 0.97082 | 0.011187 | 0.061968 | 2.0364
[24 empty] | 0 | 0.0044583 | 0.0011305 | 0.0014771 | 0.00059798 | -0.0008021 | -0.0010942 | 0.018183 | 0.011187 | 0.00085419 | 0.0008455 | 0.018867
[24 empty] | 0 | 0.032675 | 0.0086004 | 0.0089667 | 0.0039915 | -0.013492 | 0.0048595 | 0.12291 | 0.061968 | 0.0008455 | 0.005664 | 0.14784
[24 empty] | 0 | 0.87132 | 0.27806 | 0.30095 | 0.11419 | -0.53726 | 0.17555 | 7.3615 | 2.0364 | 0.018867 | 0.14784 | 9.4736
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.13416 | -0.042247 | -0.0060665 | -0.012352 | -0.004585 | 0.012602 | -0.058427 | -0.032784 | 0.0046627 | 2.7833e-05 | -0.0044884
[24 empty] | 0 | -0.042247 | 0.025654 | 0.0093028 | 0.011446 | 0.0030545 | 0.0025287 | 0.093887 | 0.025534 | -0.0054514 | -1.2808e-05 | 0.18745
[24 empty] | 0 | -0.0060665 | 0.0093028 | 0.010444 | 0.007291 | -0.0010974 | 0.0038348 | -0.030543 | 0.022286 | -0.0045074 | 6.2647e-06 | 0.028838
[24 empty] | 0 | -0.012352 | 0.011446 | 0.007291 | 0.0076967 | 0.0023072 | -0.00032117 | -0.020091 | 0.018133 | -0.0025778 | -6.6797e-06 | 0.03602
[24 empty] | 0 | -0.004585 | 0.0030545 | -0.0010974 | 0.0023072 | 0.0077588 | -0.0093301 | -0.00067865 | 0.0012403 | 0.0021913 | -1.8019e-05 | 0.031008
[24 empty] | 0 | 0.012602 | 0.0025287 | 0.0038348 | -0.00032117 | -0.0093301 | 0.065815 | 0.086474 | -0.00034238 | -0.0057897 | 2.9611e-05 | 0.15558
[24 empty] | 0 | -0.058427 | 0.093887 | -0.030543 | -0.020091 | -0.00067865 | 0.086474 | 4.5464 | -0.10348 | -0.01065 | -8.6691e-05 | 6.1217
[24 empty] | 0 | -0.032784 | 0.025534 | 0.022286 | 0.018133 | 0.0012403 | -0.00034238 | -0.10348 | 0.05828 | -0.009945 | 2.9089e-06 | 0.0022061
[24 empty] | 0 | 0.0046627 | -0.0054514 | -0.0045074 | -0.0025778 | 0.0021913 | -0.0057897 | -0.01065 | -0.009945 | 0.0051774 | -1.2261e-05 | -0.035006
[24 empty] | 0 | 2.7833e-05 | -1.2808e-05 | 6.2647e-06 | -6.6797e-06 | -1.8019e-05 | 2.9611e-05 | -8.6691e-05 | 2.9089e-06 | -1.2261e-05 | 1.1911e-07 | -0.00012105
[24 empty] | 0 | -0.0044884 | 0.18745 | 0.028838 | 0.03602 | 0.031008 | 0.15558 | 6.1217 | 0.0022061 | -0.035006 | -0.00012105 | 9.6376
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.22602 | 0.063358 | -0.001401 | 0.0045842 | 0.0050678 | -0.020231 | -0.18665 | -0.026091 | -0.0023959 | 0.013769 | -0.19803
[24 empty] | 0 | 0.063358 | 0.11164 | -0.0017174 | 0.021105 | 0.054494 | 0.026688 | -0.0098403 | -0.0091398 | 0.0025411 | 0.01874 | -0.10101
[24 empty] | 0 | -0.001401 | -0.0017174 | 0.00030349 | -0.00030373 | -0.00099866 | -0.00045306 | -0.0025192 | 0.0010587 | -3.6766e-05 | 6.24e-05 | 0.0033188
[24 empty] | 0 | 0.0045842 | 0.021105 | -0.00030373 | 0.0059309 | 0.015238 | 0.0047236 | -0.0044122 | -0.002239 | 0.0013606 | 0.0048136 | -0.026561
[24 empty] | 0 | 0.0050678 | 0.054494 | -0.00099866 | 0.015238 | 0.042422 | 0.01423 | 0.00082017 | -0.0045199 | 0.0038578 | 0.01156 | -0.060047
[24 empty] | 0 | -0.020231 | 0.026688 | -0.00045306 | 0.0047236 | 0.01423 | 0.1574 | 0.042261 | 0.020145 | 0.0011816 | 0.0043422 | 0.024671
[24 empty] | 0 | -0.18665 | -0.0098403 | -0.0025192 | -0.0044122 | 0.00082017 | 0.042261 | 0.39975 | 0.030386 | -0.00063795 | -0.018747 | 0.34032
[24 empty] | 0 | -0.026091 | -0.0091398 | 0.0010587 | -0.002239 | -0.0045199 | 0.020145 | 0.030386 | 0.038834 | -0.00088028 | 0.00039119 | 0.072581
[24 empty] | 0 | -0.0023959 | 0.0025411 | -3.6766e-05 | 0.0013606 | 0.0038578 | 0.0011816 | -0.00063795 | -0.00088028 | 0.00083742 | 0.001076 | -0.0062531
[24 empty] | 0 | 0.013769 | 0.01874 | 6.24e-05 | 0.0048136 | 0.01156 | 0.0043422 | -0.018747 | 0.00039119 | 0.001076 | 0.0057902 | -0.02731
[24 empty] | 0 | -0.19803 | -0.10101 | 0.0033188 | -0.026561 | -0.060047 | 0.024671 | 0.34032 | 0.072581 | -0.0062531 | -0.02731 | 0.52852
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.31875 | 0.14477 | 0.016352 | 0.058272 | -0.042291 | 0.052549 | 0.22046 | 0.023694 | 0.006295 | 0.00016203 | 0.19541
[24 empty] | 0 | 0.14477 | 0.15909 | 0.012774 | 0.053038 | -0.046735 | 0.074819 | 0.069006 | 0.027558 | 0.0062485 | 8.5508e-05 | 0.030712
[24 empty] | 0 | 0.016352 | 0.012774 | 0.0015392 | 0.0050298 | -0.0041343 | 0.006994 | 0.022917 | 0.0032304 | 4.4078e-05 | 1.5331e-05 | 0.02422
[24 empty] | 0 | 0.058272 | 0.053038 | 0.0050298 | 0.019465 | -0.019177 | 0.025491 | 0.059837 | 0.010447 | 0.0014515 | 1.8852e-05 | 0.05336
[24 empty] | 0 | -0.042291 | -0.046735 | -0.0041343 | -0.019177 | 0.038636 | -0.02153 | -0.11958 | -0.011819 | -0.0010744 | 0.00011882 | -0.12243
[24 empty] | 0 | 0.052549 | 0.074819 | 0.006994 | 0.025491 | -0.02153 | 0.16371 | 0.047426 | 0.018558 | -0.0002961 | 5.7544e-05 | 0.051708
[24 empty] | 0 | 0.22046 | 0.069006 | 0.022917 | 0.059837 | -0.11958 | 0.047426 | 1.6526 | 0.076494 | -0.016717 | -0.00045874 | 1.8942
[24 empty] | 0 | 0.023694 | 0.027558 | 0.0032304 | 0.010447 | -0.011819 | 0.018558 | 0.076494 | 0.020498 | -0.00058848 | 2.8059e-06 | 0.088629
[24 empty] | 0 | 0.006295 | 0.0062485 | 4.4078e-05 | 0.0014515 | -0.0010744 | -0.0002961 | -0.016717 | -0.00058848 | 0.0013122 | -3.7181e-06 | -0.02428
[24 empty] | 0 | 0.00016203 | 8.5508e-05 | 1.5331e-05 | 1.8852e-05 | 0.00011882 | 5.7544e-05 | -0.00045874 | 2.8059e-06 | -3.7181e-06 | 1.9777e-06 | -0.00042198
[24 empty] | 0 | 0.19541 | 0.030712 | 0.02422 | 0.05336 | -0.12243 | 0.051708 | 1.8942 | 0.088629 | -0.02428 | -0.00042198 | 2.2627
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.097294 | -0.012459 | -0.0063793 | -0.01354 | 0.0085967 | 0.010924 | 0.15382 | -0.017312 | 0.0018673 | 0.0026217 | 0.17066
[24 empty] | 0 | -0.012459 | 0.033295 | -0.0048567 | -0.0048161 | 0.017729 | -0.0087109 | -0.05935 | -0.012563 | 0.0015911 | 0.0025291 | -0.13865
[24 empty] | 0 | -0.0063793 | -0.0048567 | 0.0038811 | 0.0045466 | -0.017518 | -0.0040243 | -0.00059536 | 0.0053134 | -0.0010484 | -0.0043191 | 0.021849
[24 empty] | 0 | -0.01354 | -0.0048161 | 0.0045466 | 0.006309 | -0.016805 | -0.0050035 | -0.029056 | 0.0072207 | -0.001212 | -0.0040404 | -0.0062754
[24 empty] | 0 | 0.0085967 | 0.017729 | -0.017518 | -0.016805 | 0.098788 | 0.018933 | -0.091367 | -0.019847 | 0.0048585 | 0.025037 | -0.19261
[24 empty] | 0 | 0.010924 | -0.0087109 | -0.0040243 | -0.0050035 | 0.018933 | 0.14921 | -0.032543 | 0.0030545 | -1.4159e-05 | 0.0074221 | -0.027128
[24 empty] | 0 | 0.15382 | -0.05935 | -0.00059536 | -0.029056 | -0.091367 | -0.032543 | 2.1983 | -0.046926 | 0.0046935 | -0.036328 | 2.5879
[24 empty] | 0 | -0.017312 | -0.012563 | 0.0053134 | 0.0072207 | -0.019847 | 0.0030545 | -0.046926 | 0.024092 | -0.00093527 | -0.0030169 | -0.017437
[24 empty] | 0 | 0.0018673 | 0.0015911 | -0.0010484 | -0.001212 | 0.0048585 | -1.4159e-05 | 0.0046935 | -0.00093527 | 0.00068433 | 0.0012231 | -0.0010789
[24 empty] | 0 | 0.0026217 | 0.0025291 | -0.0043191 | -0.0040404 | 0.025037 | 0.0074221 | -0.036328 | -0.0030169 | 0.0012231 | 0.0072857 | -0.061327
[24 empty] | 0 | 0.17066 | -0.13865 | 0.021849 | -0.0062754 | -0.19261 | -0.027128 | 2.5879 | -0.017437 | -0.0010789 | -0.061327 | 3.3067
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.86473 | -0.0044781 | 0.066197 | 0.030349 | 0.0094659 | 0.22893 | 0.5791 | -0.00048379 | -0.0029558 | -0.020771 | 0.71218
[24 empty] | 0 | -0.0044781 | 0.32024 | 0.089484 | 0.093265 | -0.066747 | 0.013639 | 0.50847 | -0.032069 | 0.013223 | -0.01117 | 0.4192
[24 empty] | 0 | 0.066197 | 0.089484 | 0.047963 | 0.048559 | -0.050953 | 0.020708 | 0.28047 | 0.008302 | 0.0048722 | -0.0060838 | 0.25139
[24 empty] | 0 | 0.030349 | 0.093265 | 0.048559 | 0.052875 | -0.058192 | 0.013152 | 0.31255 | 0.012996 | 0.0049686 | -0.0073667 | 0.27925
[24 empty] | 0 | 0.0094659 | -0.066747 | -0.050953 | -0.058192 | 0.078238 | 0.0019051 | -0.31899 | -0.027158 | -0.005007 | 0.0054461 | -0.28214
[24 empty] | 0 | 0.22893 | 0.013639 | 0.020708 | 0.013152 | 0.0019051 | 0.16287 | 0.21079 | 0.0079766 | -0.00134 | -0.0097043 | 0.23825
[24 empty] | 0 | 0.5791 | 0.50847 | 0.28047 | 0.31255 | -0.31899 | 0.21079 | 3.5241 | 0.096036 | 0.021653 | -0.086981 | 3.7079
[24 empty] | 0 | -0.00048379 | -0.032069 | 0.008302 | 0.012996 | -0.027158 | 0.0079766 | 0.096036 | 0.033649 | -0.00030012 | -0.0041849 | 0.09584
[24 empty] | 0 | -0.0029558 | 0.013223 | 0.0048722 | 0.0049686 | -0.005007 | -0.00134 | 0.021653 | -0.00030012 | 0.0015596 | -0.00032476 | 0.016434
[24 empty] | 0 | -0.020771 | -0.01117 | -0.0060838 | -0.0073667 | 0.0054461 | -0.0097043 | -0.086981 | -0.0041849 | -0.00032476 | 0.0052353 | -0.089126
[24 empty] | 0 | 0.71218 | 0.4192 | 0.25139 | 0.27925 | -0.28214 | 0.23825 | 3.7079 | 0.09584 | 0.016434 | -0.089126 | 4.0931
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 1.1436 | -0.019479 | 0.043912 | -0.033041 | 0.0097801 | 0.16385 | 0.38984 | -0.021241 | -0.035308 | 0.017637 | 0.20017
[24 empty] | 0 | -0.019479 | 0.074805 | -0.01995 | 0.028608 | -0.0251 | -0.034596 | 0.11151 | -0.039969 | -0.00050796 | -0.01664 | 0.13735
[24 empty] | 0 | 0.043912 | -0.01995 | 0.017638 | -0.020852 | 0.024097 | 0.025992 | 0.036095 | 0.022948 | -0.0014809 | 0.013843 | 0.038656
[24 empty] | 0 | -0.033041 | 0.028608 | -0.020852 | 0.026268 | -0.030682 | -0.028503 | -0.034754 | -0.031947 | 0.00088727 | -0.017347 | -0.048893
[24 empty] | 0 | 0.0097801 | -0.0251 | 0.024097 | -0.030682 | 0.039374 | 0.027003 | 0.059573 | 0.038731 | 7.3482e-05 | 0.020837 | 0.091294
[24 empty] | 0 | 0.16385 | -0.034596 | 0.025992 | -0.028503 | 0.027003 | 0.12884 | -0.077535 | 0.030927 | -0.006832 | 0.018295 | -0.15175
[24 empty] | 0 | 0.38984 | 0.11151 | 0.036095 | -0.034754 | 0.059573 | -0.077535 | 3.2365 | -0.068008 | 0.0021386 | 0.039165 | 3.9585
[24 empty] | 0 | -0.021241 | -0.039969 | 0.022948 | -0.031947 | 0.038731 | 0.030927 | -0.068008 | 0.052204 | 0.00048487 | 0.020802 | -0.050613
[24 empty] | 0 | -0.035308 | -0.00050796 | -0.0014809 | 0.00088727 | 7.3482e-05 | -0.006832 | 0.0021386 | 0.00048487 | 0.0019854 | -0.00031527 | 0.010976
[24 empty] | 0 | 0.017637 | -0.01664 | 0.013843 | -0.017347 | 0.020837 | 0.018295 | 0.039165 | 0.020802 | -0.00031527 | 0.012582 | 0.046171
[24 empty] | 0 | 0.20017 | 0.13735 | 0.038656 | -0.048893 | 0.091294 | -0.15175 | 3.9585 | -0.050613 | 0.010976 | 0.046171 | 5.1547