## sheet 1
Setpoint | t_liq_in | t_liq_out | t_air_in_pt100 | t_air_out_pt100 | t_air_fan_pt100 | flow_liq | dP_air | dp_liq | p_atm | rh_air | dP_nozzle | Setpoint uncertanty | t_liq_in uncertanty | t_liq_out uncertanty | t_air_in_pt100 uncertanty | t_air_out_pt100 uncertanty | t_air_fan_pt100 uncertanty | flow_liq uncertanty | dP_air uncertanty | dp_liq uncertanty | p_atm uncertanty | rh_air uncertanty | dP_nozzle uncertanty | Setpoint covariance | t_liq_in covariance | t_liq_out covariance | t_air_in_pt100 covariance | t_air_out_pt100 covariance | t_air_fan_pt100 covariance | flow_liq covariance | dP_air covariance | dp_liq covariance | p_atm covariance | rh_air covariance | dP_nozzle covariance | Setpoint steady state | t_liq_in steady state | t_liq_out steady state | t_air_in_pt100 steady state | t_air_out_pt100 steady state | t_air_fan_pt100 steady state | flow_liq steady state | dP_air steady state | dp_liq steady state | p_atm steady state | rh_air steady state | dP_nozzle steady state | t_air_in | t_air_out | T_5 | P_atm | P_s5 | P_s6 | dT_air | dT_liq | alpha | beta | gamma | Y_squared | Y | rho_5 | n_nozzle | C_nozzle | A_nozzle | Q | Plot number
- | C | C | C | C | C | L/min | Pa | mbar | mbar | % | Pa | - | C | C | C | C | C | L/min | Pa | mbar | mbar | % | Pa | - | C | C | C | C | C | L/min | Pa | mbar | mbar | % | Pa | - | - | - | - | - | - | - | - | - | - | - | - | C | C | K | Pa | Pa | Pa | K | K | - | - | - | - | - | kg/m3 | - | - | m2 | m3/s | -
1 | 85.663 | 72.3221 | 12.9659 | 64.0593 | 32.4754 | 129.3461 | 106.2639 | 44.8732 | 994.8257 | 7.5705 | 397.2546 | 0 | 0.67993 | 0.52265 | 0.036383 | 0.11215 | 0.22809 | 0.46883 | 1.0244 | 0.16637 | 0.015369 | 0.087421 | 2.9243 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.86885 | 0.45902 | 1 | 0.54098 | 0.22951 | 0.83607 | 0.60656 | 0.95082 | 0.93443 | 1 | 0.47541 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 86.492 | 71.2454 | 13.6721 | 64.0299 | 33.9006 | 110.7609 | 106.624 | 32.5931 | 995.0943 | 7.9562 | 397.5622 | 0 | 0.40527 | 0.2433 | 0.052181 | 0.03498 | 0.1431 | 0.32737 | 1.602 | 0.13258 | 0.02868 | 0.038499 | 4.7674 | 0 | 0.46231 | 0.18465 | 0.0029247 | 0.010716 | 0.099567 | 0.12342 | -0.26722 | -0.026148 | 0.0041841 | 0.028935 | -0.52505 | 1 | 0.85246 | 0.45902 | 0.29508 | 0.96721 | 0.98361 | 0.93443 | 0.96721 | 0.85246 | 0.91803 | 0.86885 | 0.91803 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
3 | 86.7504 | 69.9858 | 13.314 | 63.6799 | 35.3262 | 101.3856 | 107.2796 | 30.1708 | 995.2296 | 8.1704 | 397.0489 | 0 | 0.77305 | 0.41121 | 0.015648 | 0.074802 | 0.20807 | 0.31587 | 1.3792 | 0.16129 | 0.040723 | 0.03744 | 4.4292 | 0 | 0.18465 | 0.27316 | -0.00080711 | 0.046749 | 0.095215 | 0.11003 | -0.20882 | -0.023881 | 0.0019634 | 0.036629 | -0.71828 | 1 | 1 | 0.98361 | 0.77049 | 0.63934 | 0.40984 | 0.91803 | 0.77049 | 0.86885 | 0.70492 | 0.81967 | 0.7541 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
4 | 86.1479 | 67.8742 | 13.3421 | 62.5932 | 35.1338 | 88.9926 | 105.4005 | 19.1771 | 995.3164 | 8.5459 | 391.8008 | 0 | 0.39477 | 0.23843 | 0.011936 | 0.055577 | 0.55545 | 0.30398 | 0.54047 | 0.13572 | 0.016439 | 0.055866 | 1.4632 | 0 | 0.0029247 | -0.00080711 | 0.0013237 | 0.0010884 | 0.001127 | 0.0019569 | -0.0049576 | -0.00061263 | -5.3439e-05 | 0.00040496 | -0.0083424 | 1 | 0.88525 | 0.88525 | 0.77049 | 0.62295 | 0.36066 | 0.91803 | 0.86885 | 0.88525 | 0.85246 | 0.96721 | 0.91803 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3
5 | 87.2701 | 65.6244 | 13.3813 | 61.8472 | 36.2065 | 74.6329 | 106.4934 | 15.013 | 995.5978 | 8.8574 | 396.0704 | 0 | 0.47163 | 0.18712 | 0.011228 | 0.029244 | 0.096078 | 0.34461 | 1.3443 | 0.22141 | 0.022598 | 0.055395 | 3.6622 | 0 | 0.010716 | 0.046749 | 0.0010884 | 0.012578 | 0.017411 | 0.022001 | -0.031363 | -0.0045584 | -3.9188e-05 | 0.0068928 | -0.14066 | 1 | 0.52459 | 0.47541 | 0.59016 | 0.59016 | 0.21311 | 0.98361 | 0.39344 | 0.29508 | 0.91803 | 0.80328 | 0.42623 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4
6 | 85.4476 | 74.6404 | 14.9383 | 68.5314 | 35.6063 | 129.8581 | 72.991 | 46.6134 | 995.4389 | 7.3352 | 236.9863 | 0 | 0.30472 | 0.10951 | 0.021001 | 0.012472 | 0.36036 | 0.39687 | 1.0405 | 0.24828 | 0.02374 | 0.031197 | 2.6887 | 0 | 0.099567 | 0.095215 | 0.001127 | 0.017411 | 0.052023 | 0.052175 | -0.16172 | -0.0022058 | 0.00083583 | 0.010259 | -0.47767 | 1 | 0.78689 | 0.85246 | 0.77049 | 0.95082 | 0.36066 | 0.93443 | 1 | 0.65574 | 0.95082 | 0.91803 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
7 | 86.9873 | 75.1365 | 15.4111 | 69.747 | 33.8705 | 115.3467 | 73.2112 | 40.0544 | 995.4723 | 6.9956 | 238.3293 | 0 | 0.73722 | 0.47616 | 0.10206 | 0.11462 | 0.3956 | 0.41417 | 0.84872 | 0.31498 | 0.03576 | 0.068206 | 2.5466 | 0 | 0.12342 | 0.11003 | 0.0019569 | 0.022001 | 0.052175 | 0.2198 | -0.093564 | -0.0019794 | 0.00094506 | 0.012988 | -0.27276 | 1 | 0.45902 | 0.37705 | 0.032787 | 0.37705 | 0.86885 | 0.95082 | 0.88525 | 0.45902 | 0.37705 | 0.11475 | 0.81967 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6
8 | 86.8564 | 73.1579 | 14.477 | 68.1556 | 33.7148 | 100.2598 | 73.0722 | 31.8636 | 995.582 | 6.607 | 237.6493 | 0 | 0.46355 | 0.2548 | 0.052383 | 0.093829 | 0.25929 | 0.38802 | 0.72289 | 0.95191 | 0.02316 | 0.024152 | 2.7705 | 0 | -0.26722 | -0.20882 | -0.0049576 | -0.031363 | -0.16172 | -0.093564 | 1.0494 | 0.0016141 | -0.0046579 | -0.014333 | 2.8282 | 1 | 1 | 0.95082 | 0.16393 | 0.34426 | 0.13115 | 0.91803 | 0.96721 | 0.081967 | 0.88525 | 0.93443 | 0.70492 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7
9 | 87.2551 | 71.9753 | 15.0869 | 67.97 | 35.2581 | 89.8624 | 74.3273 | 22.1244 | 995.6207 | 6.4831 | 241.919 | 0 | 0.44116 | 0.29942 | 0.025432 | 0.038494 | 0.12081 | 0.26169 | 1.1875 | 0.13914 | 0.019849 | 0.085032 | 3.1218 | 0 | -0.026148 | -0.023881 | -0.00061263 | -0.0045584 | -0.0022058 | -0.0019794 | 0.0016141 | 0.02768 | -0.00029951 | -0.0068047 | 0.0053147 | 1 | 0.88525 | 0.68852 | 0.86885 | 0.95082 | 0.93443 | 0.95082 | 0.68852 | 0.85246 | 0.85246 | 0.7377 | 0.90164 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8
10 | 85.6642 | 67.844 | 14.4866 | 65.6698 | 35.3363 | 74.6342 | 73.5158 | 12.1728 | 995.7336 | 6.8007 | 240.8178 | 0 | 0.44953 | 0.13095 | 0.094194 | 0.062595 | 0.094234 | 0.28768 | 1.001 | 0.91527 | 0.027429 | 0.13271 | 3.1508 | 0 | 0.0041841 | 0.0019634 | -5.3439e-05 | -3.9188e-05 | 0.00083583 | 0.00094506 | -0.0046579 | -0.00029951 | 0.0002362 | 0.00033088 | -0.0097597 | 1 | 0.60656 | 0.7377 | 0 | 0.34426 | 0.70492 | 0.90164 | 0.90164 | 0.016393 | 0.95082 | 0.4918 | 0.93443 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9
11 | 82.3084 | 74.5129 | 14.3101 | 71.5117 | 30.0064 | 127.4856 | 41.8429 | 43.0827 | 995.8934 | 5.6063 | 109.9653 | 0 | 0.36168 | 0.28939 | 0.36495 | 0.10405 | 0.12136 | 0.38577 | 1.4198 | 0.21423 | 0.027285 | 0.056751 | 3.4157 | 0 | 0.028935 | 0.036629 | 0.00040496 | 0.0068928 | 0.010259 | 0.012988 | -0.014333 | -0.0068047 | 0.00033088 | 0.0076425 | -0.056758 | 1 | 1 | 1 | 0.18033 | 0.18033 | 0.77049 | 0.96721 | 0.96721 | 0.7377 | 0.81967 | 1 | 0.95082 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10
12 | 82.5332 | 74.0768 | 13.8895 | 70.4664 | 31.4411 | 115.3242 | 41.3593 | 40.3845 | 995.9231 | 5.9393 | 108.2264 | 0 | 0.6696 | 0.29675 | 0.068115 | 0.16951 | 0.33795 | 0.36411 | 0.56353 | 0.20015 | 0.026115 | 0.043951 | 1.3619 | 0 | -0.52505 | -0.71828 | -0.0083424 | -0.14066 | -0.47767 | -0.27276 | 2.8282 | 0.0053147 | -0.0097597 | -0.056758 | 8.5516 | 1 | 0.77049 | 0.90164 | 0.13115 | 0.21311 | 0.65574 | 0.88525 | 0.98361 | 0.98361 | 1 | 0.27869 | 0.44262 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11
13 | 85.8227 | 75.781 | 15.5325 | 72.9926 | 31.917 | 100.8294 | 41.1779 | 25.2353 | 996.075 | 4.8816 | 110.1749 | 0 | 0.21743 | 0.16046 | 0.071423 | 0.053513 | 0.23106 | 0.35158 | 0.61672 | 0.14574 | 0.027511 | 0.064898 | 1.828 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.96721 | 0.45902 | 0.27869 | 0.19672 | 0.31148 | 0.91803 | 0.95082 | 0.86885 | 0.83607 | 0.95082 | 0.93443 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12
14 | 86.79 | 75.2371 | 15.4594 | 73.09 | 32.0764 | 88.7892 | 41.8725 | 24.8168 | 996.2545 | 4.0972 | 109.3039 | 0 | 0.2886 | 0.21975 | 0.10812 | 0.16256 | 0.18888 | 0.34368 | 1.0568 | 1.1971 | 0.028457 | 0.069933 | 2.6345 | 0 | 0.16424 | 0.0063302 | 0.0089108 | -0.0075115 | 0.021958 | -0.012558 | 0.20584 | 0.0025123 | 0.0032946 | 0.0045383 | 0.53571 | 1 | 0.81967 | 0.83607 | 0.16393 | 0.13115 | 0.93443 | 0.93443 | 0.95082 | 0.065574 | 0.98361 | 1 | 0.90164 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13
15 | 87.3059 | 74.5807 | 17.025 | 73.6816 | 32.125 | 75.5754 | 41.4439 | 14.6263 | 996.3118 | 3.9309 | 108.9969 | 0 | 0.34107 | 0.19924 | 0.048329 | 0.10396 | 0.21804 | 0.26137 | 1.2476 | 0.21583 | 0.046575 | 0.1071 | 3.528 | 0 | 0.0063302 | 0.059194 | 0.0091698 | 0.0015324 | 0.0018927 | -0.0092619 | 0.050496 | 0.01101 | -0.0001547 | 0.00023062 | 0.26972 | 1 | 0.19672 | 0.34426 | 0.60656 | 0.14754 | 0.13115 | 0.98361 | 0.96721 | 0.31148 | 0.67213 | 0.7377 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14
[24 empty] | 0 | 0.0089108 | 0.0091698 | 0.0027229 | -0.00037606 | 0.0015058 | -0.002834 | 0.035974 | 0.0035307 | 0.00024734 | 0.00062494 | 0.12602
[24 empty] | 0 | -0.0075115 | 0.0015324 | -0.00037606 | 0.0012236 | -0.0040555 | 0.00088232 | 0.0047176 | -0.00040343 | -0.00048791 | 0.00022635 | 0.016434
[24 empty] | 0 | 0.021958 | 0.0018927 | 0.0015058 | -0.0040555 | 0.020479 | -0.0086971 | -0.057109 | -0.00050987 | 0.0021346 | -0.0015928 | -0.18145
[24 empty] | 0 | -0.012558 | -0.0092619 | -0.002834 | 0.00088232 | -0.0086971 | 0.10717 | -0.075833 | 0.0011865 | -0.00037253 | -0.0015432 | -0.22778
[24 empty] | 0 | 0.20584 | 0.050496 | 0.035974 | 0.0047176 | -0.057109 | -0.075833 | 2.5666 | 0.014918 | -0.0095911 | 0.053865 | 7.472
[24 empty] | 0 | 0.0025123 | 0.01101 | 0.0035307 | -0.00040343 | -0.00050987 | 0.0011865 | 0.014918 | 0.017577 | 0.00079827 | -5.9119e-05 | 0.089829
[24 empty] | 0 | 0.0032946 | -0.0001547 | 0.00024734 | -0.00048791 | 0.0021346 | -0.00037253 | -0.0095911 | 0.00079827 | 0.00082254 | -0.00020355 | -0.026358
[24 empty] | 0 | 0.0045383 | 0.00023062 | 0.00062494 | 0.00022635 | -0.0015928 | -0.0015432 | 0.053865 | -5.9119e-05 | -0.00020355 | 0.0014822 | 0.15783
[24 empty] | 0 | 0.53571 | 0.26972 | 0.12602 | 0.016434 | -0.18145 | -0.22778 | 7.472 | 0.089829 | -0.026358 | 0.15783 | 22.7278
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.5976 | -0.0038523 | 0.0044651 | -0.0055222 | -0.050001 | 0.11294 | -0.74394 | -0.0029767 | 0.014401 | 0.014704 | -2.5606
[24 empty] | 0 | -0.0038523 | 0.1691 | 0.0020354 | 0.019725 | -0.011988 | 0.005573 | -0.13584 | -0.050941 | 0.0018998 | 0.0065693 | -0.23895
[24 empty] | 0 | 0.0044651 | 0.0020354 | 0.00024487 | -1.1967e-05 | 0.00019507 | 0.0010192 | -0.016435 | -0.0012858 | 0.00032783 | 0.00050513 | -0.050871
[24 empty] | 0 | -0.0055222 | 0.019725 | -1.1967e-05 | 0.0055954 | -0.010451 | -0.0032964 | 0.017463 | -0.0040437 | -0.00087393 | -2.4737e-05 | 0.073726
[24 empty] | 0 | -0.050001 | -0.011988 | 0.00019507 | -0.010451 | 0.043291 | -0.00066316 | 0.020037 | -0.0019026 | 0.0021477 | 0.00094904 | 0.073713
[24 empty] | 0 | 0.11294 | 0.005573 | 0.0010192 | -0.0032964 | -0.00066316 | 0.099773 | -0.16794 | -0.0096504 | 0.0024935 | 0.0035338 | -0.53025
[24 empty] | 0 | -0.74394 | -0.13584 | -0.016435 | 0.017463 | 0.020037 | -0.16794 | 1.9021 | 0.07083 | -0.032264 | -0.039133 | 5.9235
[24 empty] | 0 | -0.0029767 | -0.050941 | -0.0012858 | -0.0040437 | -0.0019026 | -0.0096504 | 0.07083 | 0.026014 | -0.0023988 | -0.0034362 | 0.15077
[24 empty] | 0 | 0.014401 | 0.0018998 | 0.00032783 | -0.00087393 | 0.0021477 | 0.0024935 | -0.032264 | -0.0023988 | 0.0016584 | 0.00088918 | -0.10163
[24 empty] | 0 | 0.014704 | 0.0065693 | 0.00050513 | -2.4737e-05 | 0.00094904 | 0.0035338 | -0.039133 | -0.0034362 | 0.00088918 | 0.0014017 | -0.11964
[24 empty] | 0 | -2.5606 | -0.23895 | -0.050871 | 0.073726 | 0.073713 | -0.53025 | 5.9235 | 0.15077 | -0.10163 | -0.11964 | 19.6174
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.15585 | -0.0070133 | -0.00089792 | -0.0070688 | -0.12237 | 0.019319 | -0.10722 | -0.0025248 | 0.0015549 | 0.0085245 | -0.27184
[24 empty] | 0 | -0.0070133 | 0.056847 | 0.0015767 | 0.0063115 | -0.044085 | 0.0041201 | -0.00095499 | -0.010217 | 0.00031643 | 0.0091584 | 0.028988
[24 empty] | 0 | -0.00089792 | 0.0015767 | 0.00014246 | 0.00061215 | 0.0028839 | -0.00031479 | -0.0020288 | 4.8223e-05 | -3.1952e-05 | 0.00037975 | -0.0010649
[24 empty] | 0 | -0.0070688 | 0.0063115 | 0.00061215 | 0.0030889 | 0.0186 | -0.0038818 | -0.010345 | 0.00077507 | -0.00018885 | 0.0013181 | -0.0099422
[24 empty] | 0 | -0.12237 | -0.044085 | 0.0028839 | 0.0186 | 0.30853 | -0.045922 | -0.044277 | 0.025001 | -0.0033349 | -0.0084804 | -0.037841
[24 empty] | 0 | 0.019319 | 0.0041201 | -0.00031479 | -0.0038818 | -0.045922 | 0.092405 | 0.01471 | 0.0084407 | 0.00010101 | 0.002879 | 0.019604
[24 empty] | 0 | -0.10722 | -0.00095499 | -0.0020288 | -0.010345 | -0.044277 | 0.01471 | 0.29211 | -0.0070778 | 0.00090648 | -0.011025 | 0.6966
[24 empty] | 0 | -0.0025248 | -0.010217 | 4.8223e-05 | 0.00077507 | 0.025001 | 0.0084407 | -0.0070778 | 0.01842 | -0.00043839 | -0.00022306 | -0.038593
[24 empty] | 0 | 0.0015549 | 0.00031643 | -3.1952e-05 | -0.00018885 | -0.0033349 | 0.00010101 | 0.00090648 | -0.00043839 | 0.00027023 | -2.946e-05 | 0.0038053
[24 empty] | 0 | 0.0085245 | 0.0091584 | 0.00037975 | 0.0013181 | -0.0084804 | 0.002879 | -0.011025 | -0.00022306 | -2.946e-05 | 0.003121 | -0.020187
[24 empty] | 0 | -0.27184 | 0.028988 | -0.0010649 | -0.0099422 | -0.037841 | 0.019604 | 0.6966 | -0.038593 | 0.0038053 | -0.020187 | 2.1408
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.22243 | 0.021193 | 0.0019111 | -4.8808e-05 | 0.032169 | -0.0025178 | 0.26875 | -0.063093 | 0.00068094 | -0.011544 | 0.73913
[24 empty] | 0 | 0.021193 | 0.035013 | 0.0011885 | 0.0040454 | 0.010743 | 0.013984 | 0.19019 | -0.023385 | 0.0020395 | -0.0019998 | 0.57024
[24 empty] | 0 | 0.0019111 | 0.0011885 | 0.00012606 | 0.00021841 | 0.00088946 | -0.00070311 | 0.01384 | -0.0015265 | 4.5466e-05 | -0.00027681 | 0.035683
[24 empty] | 0 | -4.8808e-05 | 0.0040454 | 0.00021841 | 0.00085521 | 0.0012543 | -1.5416e-05 | 0.027452 | -0.0039862 | 0.00015825 | -0.00085785 | 0.073213
[24 empty] | 0 | 0.032169 | 0.010743 | 0.00088946 | 0.0012543 | 0.0092309 | -0.0013089 | 0.11149 | -0.01405 | 0.00073626 | -0.0026067 | 0.2957
[24 empty] | 0 | -0.0025178 | 0.013984 | -0.00070311 | -1.5416e-05 | -0.0013089 | 0.11876 | -0.048692 | 0.02098 | 0.0037428 | 0.0052065 | 0.030432
[24 empty] | 0 | 0.26875 | 0.19019 | 0.01384 | 0.027452 | 0.11149 | -0.048692 | 1.8072 | -0.21424 | 0.0076188 | -0.029685 | 4.7849
[24 empty] | 0 | -0.063093 | -0.023385 | -0.0015265 | -0.0039862 | -0.01405 | 0.02098 | -0.21424 | 0.049022 | 0.00020836 | 0.0085914 | -0.53077
[24 empty] | 0 | 0.00068094 | 0.0020395 | 4.5466e-05 | 0.00015825 | 0.00073626 | 0.0037428 | 0.0076188 | 0.00020836 | 0.00051065 | 0.00019125 | 0.029051
[24 empty] | 0 | -0.011544 | -0.0019998 | -0.00027681 | -0.00085785 | -0.0026067 | 0.0052065 | -0.029685 | 0.0085914 | 0.00019125 | 0.0030687 | -0.056791
[24 empty] | 0 | 0.73913 | 0.57024 | 0.035683 | 0.073213 | 0.2957 | 0.030432 | 4.7849 | -0.53077 | 0.029051 | -0.056791 | 13.4121
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.092856 | 0.0057212 | -0.002925 | 0.0004241 | -0.058875 | 0.034812 | 0.109 | -0.0047619 | -0.002009 | -0.0001423 | 0.27489
[24 empty] | 0 | 0.0057212 | 0.011993 | -0.0015773 | 0.00098806 | -0.013395 | 0.008519 | 0.0089717 | -0.0094436 | -0.00038105 | -0.0001449 | 0.011346
[24 empty] | 0 | -0.002925 | -0.0015773 | 0.00044106 | -0.00012039 | 0.0022834 | -0.00041863 | 0.0077556 | 0.0029551 | 3.8599e-05 | 0.00011203 | 0.022722
[24 empty] | 0 | 0.0004241 | 0.00098806 | -0.00012039 | 0.00015554 | 0.00027436 | 0.00095327 | 0.00078539 | -0.00040522 | 7.2692e-05 | -2.5548e-05 | -0.00048187
[24 empty] | 0 | -0.058875 | -0.013395 | 0.0022834 | 0.00027436 | 0.12986 | -0.038756 | -0.10718 | 0.040928 | 0.0021283 | -0.00075639 | -0.284
[24 empty] | 0 | 0.034812 | 0.008519 | -0.00041863 | 0.00095327 | -0.038756 | 0.1575 | 0.1643 | 0.0011219 | -0.00029375 | 0.0039807 | 0.39276
[24 empty] | 0 | 0.109 | 0.0089717 | 0.0077556 | 0.00078539 | -0.10718 | 0.1643 | 1.0827 | 0.11767 | -0.0065691 | 0.010042 | 2.7136
[24 empty] | 0 | -0.0047619 | -0.0094436 | 0.0029551 | -0.00040522 | 0.040928 | 0.0011219 | 0.11767 | 0.061642 | -0.0017419 | -0.000922 | 0.31059
[24 empty] | 0 | -0.002009 | -0.00038105 | 3.8599e-05 | 7.2692e-05 | 0.0021283 | -0.00029375 | -0.0065691 | -0.0017419 | 0.00056358 | 5.1371e-05 | -0.021862
[24 empty] | 0 | -0.0001423 | -0.0001449 | 0.00011203 | -2.5548e-05 | -0.00075639 | 0.0039807 | 0.010042 | -0.000922 | 5.1371e-05 | 0.00097328 | 0.025169
[24 empty] | 0 | 0.27489 | 0.011346 | 0.022722 | -0.00048187 | -0.284 | 0.39276 | 2.7136 | 0.31059 | -0.021862 | 0.025169 | 7.2291
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.54349 | 0.2389 | 0.060873 | 0.064677 | -0.14206 | 0.0046329 | -0.38564 | 0.14404 | -0.013655 | 0.041654 | -0.98324
[24 empty] | 0 | 0.2389 | 0.22673 | 0.042458 | 0.05084 | -0.090828 | 0.022993 | -0.16045 | 0.11052 | -0.012684 | 0.023977 | -0.49962
[24 empty] | 0 | 0.060873 | 0.042458 | 0.010416 | 0.010325 | -0.01136 | 0.0052953 | -0.035317 | 0.028572 | -0.0030204 | 0.0060802 | -0.12533
[24 empty] | 0 | 0.064677 | 0.05084 | 0.010325 | 0.013138 | -0.029903 | 0.0070827 | -0.052255 | 0.028947 | -0.0026774 | 0.0059994 | -0.14267
[24 empty] | 0 | -0.14206 | -0.090828 | -0.01136 | -0.029903 | 0.1565 | -0.0043694 | 0.19 | -0.032565 | -0.00012468 | -0.0097106 | 0.25285
[24 empty] | 0 | 0.0046329 | 0.022993 | 0.0052953 | 0.0070827 | -0.0043694 | 0.17154 | 0.01055 | 0.022034 | -0.00050705 | 0.00027251 | -0.026732
[24 empty] | 0 | -0.38564 | -0.16045 | -0.035317 | -0.052255 | 0.19 | 0.01055 | 0.72032 | -0.078792 | 0.0042866 | -0.021666 | 1.8827
[24 empty] | 0 | 0.14404 | 0.11052 | 0.028572 | 0.028947 | -0.032565 | 0.022034 | -0.078792 | 0.09921 | -0.0077883 | 0.015959 | -0.30294
[24 empty] | 0 | -0.013655 | -0.012684 | -0.0030204 | -0.0026774 | -0.00012468 | -0.00050705 | 0.0042866 | -0.0077883 | 0.0012788 | -0.0016724 | 0.028736
[24 empty] | 0 | 0.041654 | 0.023977 | 0.0060802 | 0.0059994 | -0.0097106 | 0.00027251 | -0.021666 | 0.015959 | -0.0016724 | 0.0046521 | -0.050151
[24 empty] | 0 | -0.98324 | -0.49962 | -0.12533 | -0.14267 | 0.25285 | -0.026732 | 1.8827 | -0.30294 | 0.028736 | -0.050151 | 6.4854
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.21488 | -0.025476 | 0.0066094 | -0.0072675 | -0.022324 | 0.01913 | -0.12954 | -0.063439 | -0.0020747 | -0.0025065 | -0.54038
[24 empty] | 0 | -0.025476 | 0.064924 | 0.0017766 | 0.0051277 | -0.020278 | 0.0063776 | -0.053925 | -0.041107 | -0.00026138 | 0.0014611 | -0.18278
[24 empty] | 0 | 0.0066094 | 0.0017766 | 0.002744 | -0.0040798 | -0.012694 | 0.0060307 | -0.0073362 | -0.046105 | -0.00052009 | 0.00036159 | -0.072032
[24 empty] | 0 | -0.0072675 | 0.0051277 | -0.0040798 | 0.0088038 | 0.019903 | -0.0045731 | 0.0058323 | 0.080751 | 0.00070667 | -0.0005668 | 0.11393
[24 empty] | 0 | -0.022324 | -0.020278 | -0.012694 | 0.019903 | 0.067231 | -0.023024 | 0.056558 | 0.23817 | 0.0017345 | -0.001695 | 0.40586
[24 empty] | 0 | 0.01913 | 0.0063776 | 0.0060307 | -0.0045731 | -0.023024 | 0.15056 | 0.021244 | -0.059849 | -0.0016476 | -1.5526e-05 | 0.06186
[24 empty] | 0 | -0.12954 | -0.053925 | -0.0073362 | 0.0058323 | 0.056558 | 0.021244 | 0.52256 | 0.15159 | -0.0021092 | -0.00207 | 1.7313
[24 empty] | 0 | -0.063439 | -0.041107 | -0.046105 | 0.080751 | 0.23817 | -0.059849 | 0.15159 | 0.90612 | 0.0078901 | -0.0064078 | 1.4667
[24 empty] | 0 | -0.0020747 | -0.00026138 | -0.00052009 | 0.00070667 | 0.0017345 | -0.0016476 | -0.0021092 | 0.0078901 | 0.00053638 | -5.5684e-05 | 0.0079573
[24 empty] | 0 | -0.0025065 | 0.0014611 | 0.00036159 | -0.0005668 | -0.001695 | -1.5526e-05 | -0.00207 | -0.0064078 | -5.5684e-05 | 0.00058334 | -0.0164
[24 empty] | 0 | -0.54038 | -0.18278 | -0.072032 | 0.11393 | 0.40586 | 0.06186 | 1.7313 | 1.4667 | 0.0079573 | -0.0164 | 7.6758
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.19462 | 0.010955 | 9.184e-05 | -0.01101 | 0.0091917 | 0.031188 | 0.1373 | 0.0014048 | 0.0049119 | 0.0038065 | 0.1887
[24 empty] | 0 | 0.010955 | 0.08965 | 0.0044596 | 0.0060713 | -0.012459 | -0.0038832 | 0.041084 | -0.0058446 | 0.00092607 | -0.012711 | -0.070219
[24 empty] | 0 | 9.184e-05 | 0.0044596 | 0.00064676 | 0.00061765 | 0.00069391 | -0.0010406 | 0.012083 | 0.00060379 | 1.4521e-06 | -0.00089859 | 0.02418
[24 empty] | 0 | -0.01101 | 0.0060713 | 0.00061765 | 0.0014818 | -0.0014136 | -0.0026716 | -0.00025913 | -9.0387e-05 | -0.00028143 | -0.0015463 | 0.0033127
[24 empty] | 0 | 0.0091917 | -0.012459 | 0.00069391 | -0.0014136 | 0.014595 | -0.0025368 | 0.026472 | 0.0032786 | -7.3155e-05 | 0.0038528 | 0.041801
[24 empty] | 0 | 0.031188 | -0.0038832 | -0.0010406 | -0.0026716 | -0.0025368 | 0.06848 | 0.021311 | 0.0029689 | 0.0001169 | 0.0002456 | -0.042322
[24 empty] | 0 | 0.1373 | 0.041084 | 0.012083 | -0.00025913 | 0.026472 | 0.021311 | 1.4101 | 0.066922 | 0.0074092 | -0.049035 | 3.3712
[24 empty] | 0 | 0.0014048 | -0.0058446 | 0.00060379 | -9.0387e-05 | 0.0032786 | 0.0029689 | 0.066922 | 0.01936 | 0.0004782 | -0.0057496 | 0.10591
[24 empty] | 0 | 0.0049119 | 0.00092607 | 1.4521e-06 | -0.00028143 | -7.3155e-05 | 0.0001169 | 0.0074092 | 0.0004782 | 0.00039398 | -0.00036975 | 0.012799
[24 empty] | 0 | 0.0038065 | -0.012711 | -0.00089859 | -0.0015463 | 0.0038528 | 0.0002456 | -0.049035 | -0.0057496 | -0.00036975 | 0.0072304 | -0.098117
[24 empty] | 0 | 0.1887 | -0.070219 | 0.02418 | 0.0033127 | 0.041801 | -0.042322 | 3.3712 | 0.10591 | 0.012799 | -0.098117 | 9.7459
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.20207 | 0.022393 | -0.031731 | -0.014774 | 0.035958 | 0.038761 | -0.22066 | 0.30746 | -0.00055162 | 0.029212 | -0.63712
[24 empty] | 0 | 0.022393 | 0.017148 | -0.0080181 | -0.0020562 | 0.0069903 | 0.0050174 | -0.049827 | 0.077031 | 0.00087086 | 0.010013 | -0.15837
[24 empty] | 0 | -0.031731 | -0.0080181 | 0.0088724 | 0.0049287 | -0.0055971 | -0.0074308 | 0.035335 | -0.0859 | -9.015e-05 | -0.010807 | 0.12396
[24 empty] | 0 | -0.014774 | -0.0020562 | 0.0049287 | 0.0039181 | -0.0017419 | -0.0030835 | 0.0058558 | -0.047591 | 0.0001439 | -0.0066318 | 0.0324
[24 empty] | 0 | 0.035958 | 0.0069903 | -0.0055971 | -0.0017419 | 0.00888 | 0.0032291 | -0.061445 | 0.053965 | -3.1263e-05 | 0.0062443 | -0.18171
[24 empty] | 0 | 0.038761 | 0.0050174 | -0.0074308 | -0.0030835 | 0.0032291 | 0.082758 | 0.02266 | 0.072223 | 0.00085524 | 0.00047269 | 0.060803
[24 empty] | 0 | -0.22066 | -0.049827 | 0.035335 | 0.0058558 | -0.061445 | 0.02266 | 1.0019 | -0.34789 | -0.0064586 | -0.06157 | 3.0281
[24 empty] | 0 | 0.30746 | 0.077031 | -0.0859 | -0.047591 | 0.053965 | 0.072223 | -0.34789 | 0.83773 | 0.0009264 | 0.10474 | -1.2297
[24 empty] | 0 | -0.00055162 | 0.00087086 | -9.015e-05 | 0.0001439 | -3.1263e-05 | 0.00085524 | -0.0064586 | 0.0009264 | 0.00075233 | 0.00017975 | -0.023464
[24 empty] | 0 | 0.029212 | 0.010013 | -0.010807 | -0.0066318 | 0.0062443 | 0.00047269 | -0.06157 | 0.10474 | 0.00017975 | 0.017613 | -0.22239
[24 empty] | 0 | -0.63712 | -0.15837 | 0.12396 | 0.0324 | -0.18171 | 0.060803 | 3.0281 | -1.2297 | -0.023464 | -0.22239 | 9.9275
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.13081 | 0.030654 | -0.016448 | -0.0043207 | 0.022603 | -0.0081091 | -0.22319 | -0.031919 | -0.00054905 | 0.0014023 | -0.60823
[24 empty] | 0 | 0.030654 | 0.083744 | 0.0026339 | 0.0091998 | 0.010473 | 0.010764 | 0.10344 | -0.02716 | -0.0016204 | 0.0042313 | 0.17168
[24 empty] | 0 | -0.016448 | 0.0026339 | 0.13319 | 0.03607 | 0.017222 | -0.01502 | -0.055924 | 0.048616 | -0.0049513 | -0.0027894 | -0.07757
[24 empty] | 0 | -0.0043207 | 0.0091998 | 0.03607 | 0.010826 | 0.0046238 | -0.0026804 | 0.0035359 | 0.0104 | -0.0014724 | -0.00029168 | 0.014192
[24 empty] | 0 | 0.022603 | 0.010473 | 0.017222 | 0.0046238 | 0.014728 | -0.0041746 | -0.061515 | 0.0037609 | -0.0013872 | 0.00033797 | -0.12691
[24 empty] | 0 | -0.0081091 | 0.010764 | -0.01502 | -0.0026804 | -0.0041746 | 0.14882 | 0.004774 | -0.009274 | 8.2966e-05 | -0.0018926 | 0.017896
[24 empty] | 0 | -0.22319 | 0.10344 | -0.055924 | 0.0035359 | -0.061515 | 0.004774 | 2.0159 | -0.017814 | 0.011744 | 0.031979 | 4.7592
[24 empty] | 0 | -0.031919 | -0.02716 | 0.048616 | 0.0104 | 0.0037609 | -0.009274 | -0.017814 | 0.045896 | -0.0019161 | -0.0025188 | 0.019459
[24 empty] | 0 | -0.00054905 | -0.0016204 | -0.0049513 | -0.0014724 | -0.0013872 | 8.2966e-05 | 0.011744 | -0.0019161 | 0.00074449 | 3.8112e-05 | 0.028767
[24 empty] | 0 | 0.0014023 | 0.0042313 | -0.0027894 | -0.00029168 | 0.00033797 | -0.0018926 | 0.031979 | -0.0025188 | 3.8112e-05 | 0.0032206 | 0.072652
[24 empty] | 0 | -0.60823 | 0.17168 | -0.07757 | 0.014192 | -0.12691 | 0.017896 | 4.7592 | 0.019459 | 0.028767 | 0.072652 | 11.6671
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.44837 | 0.081229 | -0.026662 | -0.055725 | -0.19389 | 0.10767 | 0.065074 | -0.036764 | -0.0012002 | -0.010677 | -0.2545
[24 empty] | 0 | 0.081229 | 0.088061 | -0.0044278 | -0.0061017 | -0.06059 | -0.0039283 | -0.012706 | -0.032299 | 0.0016216 | -0.00075598 | -0.15084
[24 empty] | 0 | -0.026662 | -0.0044278 | 0.0046397 | 0.011264 | 0.016013 | -0.0089586 | 0.0099173 | -0.0023534 | 0.00035607 | 0.0020045 | 0.064836
[24 empty] | 0 | -0.055725 | -0.0061017 | 0.011264 | 0.028733 | 0.034196 | -0.019156 | 0.025043 | -0.0076983 | 0.00065146 | 0.005696 | 0.15216
[24 empty] | 0 | -0.19389 | -0.06059 | 0.016013 | 0.034196 | 0.11421 | -0.050113 | 0.0014407 | 0.019032 | 0.00033736 | 0.0067318 | 0.21345
[24 empty] | 0 | 0.10767 | -0.0039283 | -0.0089586 | -0.019156 | -0.050113 | 0.13258 | 0.029146 | 0.0016201 | 0.0011437 | -0.0032437 | -0.061103
[24 empty] | 0 | 0.065074 | -0.012706 | 0.0099173 | 0.025043 | 0.0014407 | 0.029146 | 0.31757 | -0.011262 | 0.0026242 | 0.0012805 | 0.59702
[24 empty] | 0 | -0.036764 | -0.032299 | -0.0023534 | -0.0076983 | 0.019032 | 0.0016201 | -0.011262 | 0.040061 | -0.0012776 | -0.0016092 | 0.01308
[24 empty] | 0 | -0.0012002 | 0.0016216 | 0.00035607 | 0.00065146 | 0.00033736 | 0.0011437 | 0.0026242 | -0.0012776 | 0.00068201 | -8.1928e-05 | 0.0041405
[24 empty] | 0 | -0.010677 | -0.00075598 | 0.0020045 | 0.005696 | 0.0067318 | -0.0032437 | 0.0012805 | -0.0016092 | -8.1928e-05 | 0.0019317 | 0.021871
[24 empty] | 0 | -0.2545 | -0.15084 | 0.064836 | 0.15216 | 0.21345 | -0.061103 | 0.59702 | 0.01308 | 0.0041405 | 0.021871 | 1.8549
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.047274 | 0.0030846 | 0.0037483 | -0.0020974 | 0.016214 | 0.0018501 | -0.018888 | -0.017914 | 0.0019306 | 0.001104 | 0.088147
[24 empty] | 0 | 0.0030846 | 0.025747 | 0.0077278 | -0.0067834 | 0.026211 | -0.021783 | -0.02553 | 0.0015007 | 0.0025651 | -0.0029011 | -0.045449
[24 empty] | 0 | 0.0037483 | 0.0077278 | 0.0051012 | -0.003515 | 0.015114 | -0.0045906 | -0.0084799 | 0.00080721 | 0.0010742 | 0.00090935 | -0.0063856
[24 empty] | 0 | -0.0020974 | -0.0067834 | -0.003515 | 0.0028636 | -0.011556 | 0.0056231 | 0.0077716 | -0.0018131 | -0.00078787 | 0.00049489 | 0.015261
[24 empty] | 0 | 0.016214 | 0.026211 | 0.015114 | -0.011556 | 0.053391 | -0.020994 | -0.044949 | 0.0026879 | 0.0032909 | -0.0017825 | -0.059899
[24 empty] | 0 | 0.0018501 | -0.021783 | -0.0045906 | 0.0056231 | -0.020994 | 0.12361 | 0.058624 | -0.0033445 | -0.0014715 | 0.0066405 | 0.16992
[24 empty] | 0 | -0.018888 | -0.02553 | -0.0084799 | 0.0077716 | -0.044949 | 0.058624 | 0.38034 | 0.024807 | 0.00015884 | 0.0083246 | 0.92084
[24 empty] | 0 | -0.017914 | 0.0015007 | 0.00080721 | -0.0018131 | 0.0026879 | -0.0033445 | 0.024807 | 0.02124 | -0.00063585 | -0.0025971 | -0.010298
[24 empty] | 0 | 0.0019306 | 0.0025651 | 0.0010742 | -0.00078787 | 0.0032909 | -0.0014715 | 0.00015884 | -0.00063585 | 0.00075685 | 0.00010995 | 0.012391
[24 empty] | 0 | 0.001104 | -0.0029011 | 0.00090935 | 0.00049489 | -0.0017825 | 0.0066405 | 0.0083246 | -0.0025971 | 0.00010995 | 0.0042117 | 0.038184
[24 empty] | 0 | 0.088147 | -0.045449 | -0.0063856 | 0.015261 | -0.059899 | 0.16992 | 0.92084 | -0.010298 | 0.012391 | 0.038184 | 3.3417
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.083288 | 0.002313 | -0.0075658 | 0.016439 | -0.02934 | 0.050621 | -0.078612 | 0.14859 | 0.0023313 | 0.014176 | -0.23246
[24 empty] | 0 | 0.002313 | 0.048292 | -0.0075041 | 0.018419 | -0.026506 | -0.0035166 | -0.010917 | 0.095644 | 0.00173 | 0.00045258 | -0.14408
[24 empty] | 0 | -0.0075658 | -0.0075041 | 0.01169 | -0.016696 | -0.0029558 | -0.0041476 | -0.042184 | -0.12449 | 0.00076296 | -0.00032823 | -0.0027057
[24 empty] | 0 | 0.016439 | 0.018419 | -0.016696 | 0.026425 | -0.0043425 | 0.0068886 | 0.035075 | 0.19052 | -0.00045412 | 0.0023355 | -0.060118
[24 empty] | 0 | -0.02934 | -0.026506 | -0.0029558 | -0.0043425 | 0.035675 | -0.013565 | 0.11375 | -0.014149 | -0.0030967 | -0.0070407 | 0.28019
[24 empty] | 0 | 0.050621 | -0.0035166 | -0.0041476 | 0.0068886 | -0.013565 | 0.11812 | 0.014282 | 0.074893 | 0.0013903 | 0.006643 | -0.037601
[24 empty] | 0 | -0.078612 | -0.010917 | -0.042184 | 0.035075 | 0.11375 | 0.014282 | 1.1168 | 0.29825 | -0.016312 | -0.034483 | 2.4641
[24 empty] | 0 | 0.14859 | 0.095644 | -0.12449 | 0.19052 | -0.014149 | 0.074893 | 0.29825 | 1.4331 | -0.0045249 | 0.020741 | -0.28863
[24 empty] | 0 | 0.0023313 | 0.00173 | 0.00076296 | -0.00045412 | -0.0030967 | 0.0013903 | -0.016312 | -0.0045249 | 0.0008098 | 0.00090914 | -0.032932
[24 empty] | 0 | 0.014176 | 0.00045258 | -0.00032823 | 0.0023355 | -0.0070407 | 0.006643 | -0.034483 | 0.020741 | 0.00090914 | 0.0048906 | -0.070841
[24 empty] | 0 | -0.23246 | -0.14408 | -0.0027057 | -0.060118 | 0.28019 | -0.037601 | 2.4641 | -0.28863 | -0.032932 | -0.070841 | 6.9406
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0.11633 | 0.06235 | 0.013294 | -0.030385 | 0.071534 | 0.00030214 | -0.12179 | 0.067989 | -0.011381 | 0.023177 | -0.40448
[24 empty] | 0 | 0.06235 | 0.039696 | 0.0086577 | -0.014689 | 0.039815 | 0.0062674 | -0.0024063 | 0.035403 | -0.0056006 | 0.015034 | -0.038045
[24 empty] | 0 | 0.013294 | 0.0086577 | 0.0023357 | -0.0028277 | 0.0090534 | 0.0030308 | 0.0012074 | 0.0083405 | -0.001309 | 0.0025328 | 0.011181
[24 empty] | 0 | -0.030385 | -0.014689 | -0.0028277 | 0.010807 | -0.020033 | 0.0039512 | 0.017433 | -0.01801 | 0.0026461 | -0.0049756 | 0.082301
[24 empty] | 0 | 0.071534 | 0.039815 | 0.0090534 | -0.020033 | 0.04754 | 0.0016162 | -0.034681 | 0.043171 | -0.006634 | 0.011868 | -0.13072
[24 empty] | 0 | 0.00030214 | 0.0062674 | 0.0030308 | 0.0039512 | 0.0016162 | 0.068312 | 0.063657 | 0.0022623 | 0.00073366 | 0.00040478 | 0.23967
[24 empty] | 0 | -0.12179 | -0.0024063 | 0.0012074 | 0.017433 | -0.034681 | 0.063657 | 1.5564 | -0.074342 | 0.024431 | -0.01618 | 4.2379
[24 empty] | 0 | 0.067989 | 0.035403 | 0.0083405 | -0.01801 | 0.043171 | 0.0022623 | -0.074342 | 0.046582 | -0.0068924 | 0.011534 | -0.22367
[24 empty] | 0 | -0.011381 | -0.0056006 | -0.001309 | 0.0026461 | -0.006634 | 0.00073366 | 0.024431 | -0.0068924 | 0.0021692 | -0.0023461 | 0.068325
[24 empty] | 0 | 0.023177 | 0.015034 | 0.0025328 | -0.0049756 | 0.011868 | 0.00040478 | -0.01618 | 0.011534 | -0.0023461 | 0.01147 | -0.06269
[24 empty] | 0 | -0.40448 | -0.038045 | 0.011181 | 0.082301 | -0.13072 | 0.23967 | 4.2379 | -0.22367 | 0.068325 | -0.06269 | 12.4468